## Sheet1
country | total_data_centers | hyperscale_data_centers | colocation_data_centers | floor_space_sqft_total | power_capacity_MW_total | average_renewable_energy_usage_percent | tier_distribution | key_operators | cloud_provider | internet_penetration_percent | avg_latency_to_global_hubs_ms | number_of_fiber_connections | growth_rate_of_data_centers_percent_per_year | cooling_technologies_common | regulatory_challenges_or_limits | disaster_recovery_sites_common | green_dc_initiatives_description | source_of_data
United States | 5426 | 300+ | ~2,000+ | ~3,552,000,000 | ~12,000+ | ~27% | I:5%, II:15%, III:60%, IV:20% | Equinix, Digital Realty, CoreSite, AWS | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:Yes | 92% | 40 | 60+ | 12% | Air, Liquid, Immersion | Power grid strain in VA, moratoriums in some states | Yes, especially for finance/health | Solar, wind PPA, immersion cooling, LEED | Statista, Brightlio, IEA, CBRE
Germany | 529 | 50 | ~200 | ~350,000,000 | ~2,000+ | 40%+ | II:10%, III:70%, IV:20% | Equinix, Digital Realty, e-shelter | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:Yes | 92% | 50 | 30+ | 8% | Air, Indirect Evap. | Power caps in Frankfurt, strict emissions | Yes, especially for finance | Wind, solar, carbon-neutral push | Statista, CBRE, IEA
United Kingdom | 523 | 30 | ~150 | ~200,000,000 | ~1,000+ | 0.45 | II:15%, III:70%, IV:15% | Equinix, Telehouse, Virtus | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:Yes | 96% | 40 | 25+ | 7% | Air, Free Cooling | Power grid constraints in London | Yes, especially for finance | Wind, solar, carbon-neutral targets | Statista, CBRE, IEA
China | 449 | 100 | ~1,000+ | ~500,000,000 | ~8,000+ | 0.25 | II:20%, III:60%, IV:20% | China Unicom, Tencent, Alibaba, GDS | AWS:Yes, GCP:No, Azure:Yes, Oracle:Yes | 76% | 75 | 40+ | 15% | Air, Liquid | Power rationing in some provinces | Yes, for government/finance | Hydro, wind, solar, green finance | Statista, CBRE, IEA
France | 322 | 20 | ~110 | ~120,000,000 | ~700 | 40%+ | II:20%, III:70%, IV:10% | Equinix, Interxion, Data4 | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:Yes | 91% | 50 | 20+ | 6% | Air, Liquid | Power grid constraints in Paris | Yes, for finance/health | Wind, solar, PUE targets | Statista, CBRE, IEA
Canada | 336 | 15 | ~100 | ~90,000,000 | ~500 | 0.78 | II:20%, III:70%, IV:10% | Equinix, Cologix, eStruxture | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:Yes | 96% | 75 | 18+ | 9% | Air, Liquid, Free Cooling | Power grid constraints in Toronto/Vancouver | Yes, especially for finance/health | Hydro, wind, carbon-neutral push | Statista, CBRE, IEA
Australia | 314 | 20 | ~80 | ~40,000,000 | ~1,200 | 0.3 | II:20%, III:70%, IV:10% | NEXTDC, Equinix, AirTrunk | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:Yes | 96% | 55 | 20+ | 10% | Air, Liquid, Free Cooling | Power grid constraints in Sydney | Yes, for finance/tech | Solar, wind, carbon-neutral push | Statista, CBRE, IEA
Netherlands | 298 | 15 | ~90 | ~35,000,000 | ~700 | 0.9 | II:10%, III:80%, IV:10% | Equinix, Interxion, NorthC | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:Yes | 96% | 50 | 14+ | 8% | Air, Liquid, Free Cooling | Moratorium in Amsterdam (lifted 2021) | Yes, especially for finance/tech | Wind, solar, green PUE targets | Statista, CBRE, IEA
Russia | 251 | 10 | ~60 | ~20,000,000 | ~400 | 0.15 | II:30%, III:60%, IV:10% | IXcellerate, DataPro, Rostelecom | AWS:No, GCP:No, Azure:No, Oracle:No | 85% | 100 | 10+ | 6% | Air, Liquid | Data localization, import restrictions | Yes, for government/finance | Some wind/solar pilots, limited scale | Statista, CBRE, IEA
Japan | 222 | 20 | ~80 | ~50,000,000 | ~1,000 | 0.25 | II:20%, III:70%, IV:10% | Equinix, NTT, KDDI, Colt | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:Yes | 94% | 60 | 16+ | 7% | Air, Liquid, Immersion | Power grid constraints in Tokyo/Osaka | Yes, for finance/tech | Solar, wind, green building codes | Statista, CBRE, IEA
Brazil | 196 | 10 | ~100 | ~20,000,000 | ~800 | 0.25 | II:30%, III:60%, IV:10% | Ascenty, ODATA, Equinix | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:Yes | 82% | 100 | 10+ | 12% | Air, Liquid | Power grid reliability, taxes | Yes, for finance/health | Solar, wind, green PUE targets | Statista, ResearchAndMarkets, IEA
Singapore | 99 | 15 | ~60 | ~30,000,000 | ~500 | 0.95 | III:80%, IV:20% | Equinix, Digital Realty, STT GDC | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:Yes | 92% | 30 | 20+ | 6% | Liquid, Air, Immersion | Moratorium on new DCs 2019–2022, energy caps | Yes, for finance/tech | Solar, seawater cooling, green DC roadmap | Statista, CBRE, IEA
South Africa | 61 | 5 | ~30 | ~10,000,000 | ~200 | 0.3 | II:40%, III:50%, IV:10% | Teraco, Africa Data Centres, NTT | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:No | 72% | 135 | 8+ | 10% | Air, Liquid | Power grid instability, rolling blackouts | Yes, for finance/tech | Solar, wind, off-grid pilots | Statista, Brightlio, IEA
India | 99 | 10 | ~50 | ~50,000,000 | ~400 | 0.15 | II:30%, III:60%, IV:10% | STT GDC, NTT, CtrlS, AWS | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:Yes | 56% | 100 | 15+ | 18% | Air, Liquid | Power supply, land acquisition | Yes, for BFSI/IT | Solar, wind, green building codes | Brightlio, CBRE, IEA
Mexico | 173 | 8 | ~32 | ~14,000,000 | ~300 | 45% (target 2030) | II:30%, III:60%, IV:10% | KIO Networks, Equinix, Alestra | AWS:Yes, GCP:No, Azure:Yes, Oracle:No | 72% | 115 | 7+ | 14% | Air, Liquid | Power availability in Queretaro, supply constraints | Yes, for finance/tech | Solar, wind, green PUE targets | Statista, CBRE, IEA
Sweden | 95 | 6 | ~40 | ~12,000,000 | ~250 | 0.98 | II:10%, III:80%, IV:10% | DigiPlex, Equinix, Bahnhof | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:No | 96% | 40 | 10+ | 8% | Air, Liquid, Free Cooling | Power grid constraints in Stockholm | Yes, for finance/tech | Hydro, wind, carbon-neutral push | Statista, CBRE, IEA
Indonesia | 84 | 3 | ~30 | ~8,000,000 | ~150 | 0.2 | II:30%, III:60%, IV:10% | DCI Indonesia, Telkomsigma, NTT | AWS:Yes, GCP:Yes, Azure:No, Oracle:No | 69% | 85 | 7+ | 15% | Air, Liquid | Land and power availability | Yes, for finance/tech | Solar, wind, green building pilots | Statista, CBRE, IEA
Spain | 143 | 5 | ~50 | ~10,000,000 | ~200 | 0.35 | II:20%, III:70%, IV:10% | Interxion, Equinix, Nabiax | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:No | 93% | 60 | 10+ | 7% | Air, Liquid, Free Cooling | Grid constraints in Madrid | Yes, for finance/tech | Solar, wind, carbon-neutral push | Statista, CBRE, IEA
Poland | 144 | 4 | ~40 | ~8,000,000 | ~120 | 0.25 | II:30%, III:60%, IV:10% | Atman, Equinix, Beyond.pl | AWS:No, GCP:No, Azure:Yes, Oracle:No | 87% | 80 | 6+ | 9% | Air, Liquid | Power grid constraints in Warsaw | Yes, for finance/tech | Wind, solar, green building codes | Statista, CBRE, IEA
Switzerland | 121 | 5 | ~30 | ~7,000,000 | ~110 | 0.8 | II:15%, III:75%, IV:10% | Green Datacenter, Equinix, Interxion | AWS:Yes, GCP:Yes, Azure:Yes, Oracle:No | 97% | 40 | 7+ | 7% | Air, Liquid, Free Cooling | Power grid constraints in Zurich | Yes, for finance/tech | Hydro, wind, carbon-neutral push | Statista, CBRE, IEA
Afghanistan | 2 | 0 | 2 | ~10,000+ | 1270 | 50 | likely Tier I–II | Afghanistan National Data Center; Alef Tech; Asia Consultancy Group; Pamir Alpha | None | 18% | Unknown | 1 IXP; 61 ASNs | Unknown | Unknown | Limited infrastructure investment; regulatory instability under Taliban | Unknown | National push for solar/hydro but no direct green DC programs | DataReportal; DatacenterMap; Internet Society; World Bank
Albania | 3 | 0 | 3 | ~71,100+ | 2730 | 100 | Mix of Tier I–II likely | Albanian Telecommunications Union; Tirana DataCom; Pronet | None | 85.6% | Unknown | 1 IXP; 114 ASNs | 6% | Unknown | Hydro-dependency; land regulation issues for renewables | Unknown | 140 MW Karavasta solar; large hydro; wind projects planned | DataReportal; Internet Society; Low‑Carbon Power; DatacenterMap; Statista; Global‑Climatescope
Algeria | 5 | 0 | 5 | ~18300 | 150 | 60 | Mix of Tier II–III (est.) | Algeria Telecom; ICOSNET; Government Data Centers | None | 24% | 85.3 | 1 IXP; 158 ASNs | ~8 (est.) |  | Bureaucratic processes; limited cloud adoption | Unknown | Some basic cold site redundancy (gov) | Investments in AI
Andorra | 1 | 0 | 1 | ~1,830 | 20 | Unknown | Tier I–II single colocation | Data Center @ La Massana (Andorra Telecom) | None | 9550% | Unknown | Unknown | 7% | Unknown | Unknown | Monopoly telco oversight; secure fiber deployment | Unknown | InRow cooling, UPS, HFC227 fire suppression | Data center sized ~170 m² built in 2008 | DataReportal; Andorra Telecom; Internet Society
Angola | 4 | 0 | 4 | ~108,300 | 90 | Unknown | Mix of Tier III–IV by design | Raxio Angola; Paratus Africa; MSTelcom; Angola Cables | None | 6190% | Unknown | 1 IXP; 158 ASNs | ~15% | Unknown | Bureaucratic permits; energy reliability challenges | Some colocation and carrier-neutral redundancy | Groundbreaking AI/data centers; Tier III design solar integration | DataCenterMap; DataCenterDynamics; Angola Cables; Telecomm Angola
Antigua and Barbuda | 1 | 0 | 1 | 5000 | 10 | Unknown | Tier 4 (planned; current is Tier I–II basement) | Government (Parliament basement) | None | 77.6% | Unknown | 1 IXP; 1 ASN | Unknown | Unknown | Government oversight; underway upgrade to EN 50600 Tier 4 | Replace basement facility with new secure building | New modular Tier 4 build planned for 2025 | Data News Room; Antigua Observer
Argentina | 34 | 0 | 34 | ~721,000 | 100 | Unknown | Mix of Tier II–III (majority) | Arsat, EdgeConneX, Telecom Argentina, G2K, Claro, Cirion, Raxio? | None | 8740% | Unknown | 1 IXP; ~400 ASNs | 10% | Unknown | Bureaucratic permitting; energy cost variability | Standard colocation redundancy | New builds with modular, sustainable features | DataCenterJournal; DatacenterDynamics; Arizton; Wikipedia; Telecom Argentina slides
Armenia | 6 | 0 | 6 | 26748 | 60 | Unknown | Mix of Tier II–III | AIC (Arminco); ADC (Armenian Datacom); GNC‑Alfa/Ovio; VSData Aragatsotn (coming 2025); Rostelecom‑backed AI & AI‑DC Firebird plans | None | 7590% | Unknown | 1 IXP; ~300 ASNs | 12% | Unknown | Government oversight; energy/permits constraints | Some redundancy & carrier-neutral colocation | MS‑watery spring cooled (VSData); AI‑DC planned 100 MW Firebird; Ovio Tier III | DataCenterJournal; DCDyn; ARKA; Wikipedia; VSData; DCDyn
Austria | 68 | 0 | 68 | ~720,000 | 450 | Unknown | Mix of Tier III (major providers), Tier II (regional) | NTT Global, Digital Realty, A1 (Exoscale), Interxion, Raiffeisen, Nessus, IBM, Tele2, Atos BRZ | None | 9120% | Unknown | 1 IXP; ~600 ASNs | 5% | Unknown | Strict regulations; high energy/permits cost | Standard redundancy (N+1 etc.) | New campus builds with ISO 50001, solar roofing, bee habitats | DataCenterJournal; DCDyn; Cloudscene; NTT Vienna; A1 Digital; DatacenterCatalog; Wikipedia
Azerbaijan | 3 | 0 | 3 | ~18,534 | 60 | Unknown | Tier III (major facilities) | PASHA; AzInTelecom (Baku, Yevlakh); AzerTelecom | None | 7980% | Unknown | 1 IXP; ~250 ASNs | ~7% growth | Unknown | Government-led expansion; energy access OK; regulatory support | Carrier-neutral redundancy at Tier III facilities | Free‑Cooling at PASHA; solar support; EIB‑backed green design | DataCenterMap; DataCenterDynamics; Wikipedia; PasHA specs
Bahamas | 3 | 0 | 3 | 40000 | 20 | Unknown | Mix of Tier III secure colocation | Secure Shore; Cable Bahamas (Nassau & Freeport); Secure Hosting Freeport | None | 94.8% | Unknown | 1 IXP; ~?? ASNs | Unknown | Unknown | High electricity cost & hurricane preparedness challenges | Disaster-recovery focus (carrier diversity) | Tier 3 with CRAC/CRAH & redundant UPS/gens; solar backup mentioned | Data sheet from Secure Shore; Cable Bahamas blog; DataCenterMap; Tribune 2017
Bahrain | 5 | 0 | 5 | 129000 | 110 | Unknown | Mix of Tier III (Batelco Manama, Hamala, Ras Abu Jarjur, Gateway Gulf Manama); upcoming colocation | Telecom & Qareeb, Batelco, Gateway Gulf, STC, Zain | None | 98% | Unknown | 1 IXP; ~300 ASNs | ~10.7% CAGR | Unknown | Strict regulations; energy cost; cable resilience in hurricane season | Carrier-neutral redundancy; DR focus | Tier III, free-cooling, 3 MW solar supplement; new facility to be 100% solar-powered | DataCenterDynamics; Khazna; Arizton; DCDyn; Wikipedia
Bangladesh | 20 | 0 | 16 | ~300000 | 180 | Unknown | Mix of Tier III (major) & Tier II colocation | BCC/BDCCL, Plexus Cloud, DataVolt (planned), Aamra, ANOS, Zipnet, Kloud, DataHub Asia | None | ~75% | Unknown | 1 IXP; ~400 ASNs | ~30% CAGR | Unknown | Energy grid strain; high cooling costs in hot, humid climate | Standard redundancy; DR emphasized | BCC Tier IV 200k sq ft; Plexus 4k; Dhaka ~96k; DataHub 4k, plus small DR sites | Data Portal; BDCCL; DataCenterJournal; Upturn Bangladesh
Barbados | 3 | 0 | 3 | 40000 | 30 | Unknown | Mix of Tier III secure colocation | Secure Shore; Cable Bahamas (Nassau & Freeport); Secure Hosting Freeport | None | 80% | Unknown | 1 IXP; Unknown ASNs | Unknown | Unknown | High electricity cost & hurricane resilience focus | Disaster-recovery emphasis (carrier diversity) | Tier 3 with CRAC/CRAH, redundant UPS & gens; solar backup mentioned | Data from Secure Shore; Cable Bahamas blog; DataCenterMap; Tribune 2017
Belarus | 6 | 0 | 6 | 882641 | 200 | Unknown | Mix of Tier III (major telco/cloud providers) | A1 Telekom, BeCloud, Velcom (America Movil), MTS, Datahata, Beltelecom | None | 91% | Unknown | 1 IXP; ~300 ASNs | ~8% growth | Unknown | Government oversight; IT Park regulation; energy access OK | Redundant Tier III design; carrier-neutral colocation | Tier III facilities with N+1 cooling; 8 MW at A1, 7.2 MW at beCloud; MTS 954 kW | DataCenterMap; Baxtel; DatacenterDynamics; Belarus.by
Belgium | 32 | 0 | 32 | 1245085 | 300 | Unknown | Mix of Tier III (major providers) & Tier II regional | Google, Digital Realty/Interxion, EdgeConneX, LCL, Colt, NTT | None | 96% | Unknown | 1 IXP; ~600 ASNs | ~4% CAGR | Unknown | Strict EU regulations; high energy costs & cooling needs | Carrier-neutral redundancy; N+1 & 2N cooling | New builds include ISO 50001, solar-power & green campuses | Data from Baxtel (1.25M sq ft, 200 MW), DatacenterJournal, DCDyn, cloudscene.com
Belize | 1 | 0 | 1 | 5000 | 15 | 50 | Tier II–III (modular/government) | CIT Office (Govt); Belize National Call Center (private) | None | ~50% | Unknown | 1 IXP; Unknown ASNs | Unknown | Unknown | Government telecom partnership; small market | Redundant UPS/generator at BNCC; carrier-neutral links | Small modular/government server rooms; prefabricated DC planning | Data from TradeGov; DC Deployed; Wikipedia; Reddit insight
Benin | 4 | 0 | 4 | 12000 | 8 | 40 | Mix of Tier II–III (likely modular and telco-run) | Alink Telecom; MTN; Isocel Telecom; local modular providers | None | 32% | Unknown | 1 IXP (BeninIX); Unknown ASNs | Unknown | Unknown | Infrastructure grants for IXP; modular build focus | Carrier-neutral links at telco sites | Modular prefab DCs via DC Deployed; basic redundancy | DataCenterPlatform; African IXP Association; Internet Society
Bhutan | 3 | 0 | 3 | 2500 | 20 | Unknown | Tier II–III mixed (govt & crypto mining) | Bhutan Innovation Tech Centre GDC; Bhutan DCS (Thimphu TechPark); Bitdeer crypto‑mine Gedu | None | 8840% | Unknown | 1 IXP; 23 ASNs (~2025) | Unknown | Unknown | Seismic risk; reliance on hydropower; limited fiber (upgrades planned) | Government colocation & crypto‑DR focus | 232 m² gov’t DC; DCS unspecified but seismic‑hardened; Bitdeer 100 MW facility under test | DataCenterDynamics; The Bhutanese; DataReportal; Internet Society
Bolivia | 3 | 0 | 3 | ~137,800 | 90 | Unknown | Mix of Tier III (major telcos) | Entel Bolivia (El Alto), Tigo Business (Santa Cruz), Confiared DC3 (Santa Cruz) | None | ~75% | Unknown | 1 IXP; ~400 ASNs | ~10% growth | Unknown | Fiber expansion nation-wide; high altitude build challenges | Carrier-neutral colocation; DR focus | Tier III El Alto & Santa Cruz; 4,500 m² Entel; 1,600 m² Confiared Tier IV; 17,200 sq ft Tigo | DCDyn; Capacity; DataCenterMap; Entel release; Tigo DCDyn; Confiared specs
Bosnia and Herzegovina | 2 | 0 | 2 | 11711 | 10 | Unknown | Tier II (academic & SMB colocation) | University of Sarajevo UCENT and Logosoft Data Center | None | 87% | Unknown | 1 IXP; ~50 ASNs | Unknown | Unknown | Government/institutional ownership; limited market entry | Redundant colocation at Logosoft; basic UPS cooling | UTIC academic DC 11,711 sq ft; Logosoft area not disclosed | DataCenterJournal; DataCenterMap
Botswana | 5 | 0 | 5 | 35200 | Unknown | Unknown | Mix of Tier II–III (BTC Sentlhaga, Digital Delta, Orange, BoFiNet) | BTC Business; BoFiNet Digital Delta; Orange Business; MTN Gaborone?; Centerserv? | None | 82% | Unknown | 1 IXP; ~200 ASNs | ~10% growth | Unknown | Power reliability & fiber theft issues | Carrier-neutral redundancy; disaster recovery focus | N+1 in-row cooling at BTC; 10,763 sq ft Tier III Digital Delta; Orange ~1,000–1,500 m² | DataCenterDynamics; BTC; DigitalDelta; Datacentermap; Botswana Unplugged
Brunei | 1 | 0 | 1 | 51000 | Unknown | Unknown | Tier III/IV modular (govt UNN) | Unified National Networks (UNN) | None | ~97% | Unknown | 1 IXP; ~50 ASNs | ~15% growth | Unknown | Government control; bureaucratic approvals | Carrier-neutral redundancy; geo‑redundant design | Prefab 51,000 sq ft Tier III/IV modular UNN DC (200 racks, eco‑efficient); Tech Greencloud small colocation | DataCenterDynamics; W.Media; NetworkWorld; Reddit
Bulgaria | 27 | 0 | 27 | 1245085 | Unknown | Unknown | Mix of Tier III & II | Equinix, Telepoint, Neterra, Daticum, Evolink, S3 Company, ITD Network | None | 88% | Unknown | 1 IXP; ~600 ASNs | ~4% CAGR | Unknown | Strict EU regulations; high energy costs & free-cooling adoption | Carrier-neutral redundancy; N+1 & 2N cooling | New builds include ISO 50001, solar PV Dallas campus | DataCenterJournal; Baxtel; DatacenterDynamics; Cloudscene
Burkina Faso | 3 | 0 | 3 | 281991 | Unknown | Unknown | Mix of Tier III (major) & Tier III modular | Virtix (Ouaga), BFIX Immeuble du Faso, BFIX Ministere de l’agriculture | None | ~34% | Unknown | 1 IXP (BFIX); Unknown ASNs | ~10% growth | Unknown | Grid/back-up power challenges; telecom tower security | Carrier-neutral connectivity; N+1 redundancy | Waste‑to‑energy 12 MW DC planned Nov 2025; Virtix 1200 m²; BFIX footprints 26,199 sq ft | DataCenterjournal; Datacentermap; DCDyn; Wikipedia solar data
Burundi | 2 | 0 | 2 | 6308 | Unknown | Unknown | Tier II (basic government & telco) | Lacell SU (Smart Burundi); Burundi Backbone System SM | None | ~10% | Unknown | 1 IXP; ~? ASNs | Unknown | Unknown | Very limited electrification (~10%); grid fragility | In-house redundant UPS/gens; no carrier-neutral | 6,308 sq ft building footprint (Smart Burundi); BBS site area not disclosed | DataCenterJournal; Wikipedia; Statista
Cambodia | 5 | 0 | 5 | ~206000 | Unknown | Unknown | Mix of Tier III (main facilities) | Chaktomuk Data Center; ByteDC; Kepstar; Sinet; Daun Penh | None | ~98% | Unknown | 1 IXP; ~200 ASNs | ~12% growth | Unknown | Government internet gateway control; energy for cooling | Carrier-neutral redundancies; DR-focused | Tier III whitespace: Chaktomuk 123,784 sq ft; ByteDC 81,040 sq ft; Daun Penh 1,076 sq ft; Kepstar projects planned 160,000 sq ft+ | DataCenterDynamics; DatacenterMap; Baxtel; Khmer Times; Wikipedia
Cameroon | 2 | 0 | 2 | 14234 | Unknown | Unknown | Mix of Tier III (telco‑led) | Orange Cameroon (Douala); Camtel Zamengoe (Yaoundé) | None | ~40% | Unknown | 1 IXP; ~100 ASNs | ~8% growth | Unknown | Power stability & grid resilience; high-altitude construction | Carrier-neutral redundancy; DR-focused | Tier III whitespace: Orange Douala server 10,800 sq ft; Camtel Zamengoe 8,611 sq ft (800 m²) | DataCenterDynamics; ITWeb Africa; DatacenterMap; Wikipedia
Cape Verde | 1 | 0 | 1 | Unknown | Unknown | Unknown | Tier II–III modular gov/private NOG/tech park | NOSi national DC at Tech Park | None | 72% | Unknown | 1 IXP; 7 ASNs | Unknown | Unknown | Poor upstream diversity; small market | Government & public-private park focus; DR on São Vicente | Tier II modular gov DC; two new renewable-powered campuses planned | Data from Internet Society Pulse; DCDyn; DatacenterMap; NOSi; Wikipedia
Central African Republic | 0 | 0 | 0 | Unknown | Unknown | Unknown | None known | Government/UN digital health servers only | None | Unknown | Unknown | 1 IXP; ~10 ASNs | Unknown | Unknown | Frequent power outages; no commercial DC market | UN/emergency rack sites only | Infrastructure upgrades planned via CAF backbone; no formal DC | builds | Data from Digital Transformation Unit; Wikipedia; Pulse; CIFCA project info
Chad | 2 | 0 | 2 | ~20,000 | Unknown | Unknown | Tier III modular (telco/govt) | Tigo/Flexenclosure; National DC (Huawei/Govt) | None | 13% | Unknown | 1 IXP; ~10 ASNs | ~5.8% CAGR | Unknown | Power instability; low electrification; telecom duopoly | Carrier-neutral redundancy; prefabricated modular focus | 374 m² Togo DC (~4,023 sq ft); National DC 500 m²×4 floors = ~21,528 sq ft; total ≈25,551 sq ft | DataCenterDynamics; Ecofin/Extensia; Statista; World Bank
Chile | 31 | 0 | 31 | 720630 | Unknown | Unknown | Mix of Tier III (major hyperscale & colocation) | Ascenty (2 sites), Equinix (4), Cirion, ClaroVTR, EdgeConneX, Google Cloud region, AWS upcoming | Yes (Google & AWS in Santiago) | 92% | Unknown | 1 IXP; ~600 ASNs | ~7% CAGR | Unknown | Strict environmental regs; drought & water-use concerns | Carrier-neutral redundancy; DR features; hyperscale build standards | Ascenty Santiago1:64,600 sq ft; Santiago2:226,000 sq ft; PIT Chile:11,786 sq ft; Equinix ST1–ST4:81,000 sq ft; EdgeConneX:28,000 sq ft† | InvestChile; DatacenterDynamics; Baxtel; DCDyn; Wikipedia; EdgeConneX; Reddit water‑use threads
Colombia | 31 | 0 | 31 | 720630 | Unknown | Unknown | Mix of Tier III (major hyperscale & colocation) | Ascenty (2 sites), Equinix (4), Cirion, ClaroVTR, EdgeConneX, Google Cloud region, AWS upcoming | Yes (Google & AWS in Santiago) | 92% | Unknown | 1 IXP; ~600 ASNs | ~7% CAGR | Unknown | Strict environmental regs; drought & water-use concerns | Carrier-neutral redundancy; DR features; hyperscale build standards | Ascenty Santiago1:64,600 sq ft; Santiago2:226,000 sq ft; PIT Chile:11,786 sq ft; Equinix ST1–ST4:81,000 sq ft; EdgeConneX:28,000 sq ft† | InvestChile; DatacenterDynamics; Baxtel; DCDyn; Wikipedia; EdgeConneX; Reddit water‑use threads
Comoros | 1 | 0 | 1 | Unknown | Unknown | Unknown | Public admin data center (new) | ANRTIC/government | None | 27% | Unknown | 0 IXP; 2 ASNs | Unknown | Unknown | ISP monopoly; no commercial DC market | Government/UN rack deployment only | Planned national data center (2025); no formal raised‑floor space | Data from APC; CapMad; Internet Society Pulse
Congo, Democratic Republic of the | 2 | 0 | 2 | ~27878 | Unknown | Unknown | Mix of Tier III (carrier-neutral telco & pan-African) | Raxio DRC1; OADC Texaf DRC (Kinshasa) | None | ~25% | Unknown | 1 IXP; ~50 ASNs | ~10% growth | Unknown | Power instability; connectivity gaps | Carrier-neutral Tier III redundancy; modular prefab design | Raxio 16,598 sq ft; OADC white-space 10,764 sq ft; total ≈27,362 sq ft | DataCenterDynamics; DCDyn; Raxio spec sheets; Datacenters.com; WIOCC
Congo, Republic of the | 2 | 0 | 2 | ~3710 | Unknown | Unknown | State‑run Tier III & II | Government ARPCE (Brazzaville 2021), Pointe‑Noire ARPCE (2Africa‑connected) | None | ~30% | Unknown | 1 IXP; ~20 ASNs | ~8% growth | Unknown | Low infrastructure investment; centralized control | Tier III carrier neutral; government redundancy | 2021 Brazzaville DC (size undisclosed); Pointe‑Noire ARPCE DC: 156 sq m (~1,680 sq ft); estimated total ≈3,710 sq ft | DataCenterDynamics; ARPCE release; Wikipedia; Internet Society Pulse
Costa Rica | 10 | 0 | 10 | 292761 | Unknown | Unknown | Mix of Tier III colocation & carrier-neutral | Data Center Costa Rica; Ufinet Escazú; IFX Alajuela; Arena (Bassett AI); RackNation; Servers Lodge; Critical Colocation; Costa Rica Servers; RackNation Curridabat; RackNation San Pedro | None | ~95% | Unknown | 1 IXP; ~150 ASNs | ~8–12% growth | Unknown | Strict environmental & seismic standards; high-cost energy | Carrier-neutral redundancy; N+1 cooling; DR-ready | Tier III whitespace: 45 sq ft; Ufinet 4,305 sq ft; IFX 8,611 sq ft; Arena 281,800 sq ft; others small colos (~ –50k sq ft); total ≈292,761 sq ft | DataCenterMap; Datacenters.com; Baxtel; reddit
Côte d’Ivoire | 5 | 0 | 5 | ~146763 | Unknown | Unknown | Mix of Tier III (carrier-neutral hyperscale & telco) | ST Digital VITIB, Raxio CIV1, Equinix/MainOne, Orange GOS, MTN modular colocation | None | 38% | Unknown | 1 IXP; 19 ASNs | ~12% CAGR | Unknown | Power grid variability; coastal water scarcity; regulatory oversight | Carrier-neutral redundancy; landing station; DR features | Raxio CIV1:43,055 sq ft; Raxio:21,528 sq ft white space; Orange:179,000 sq ft gross; ST Digital:43,055; MainOne AB1.2: modular; total ≈146,763 sq ft | DataCenterDynamics; Raxio; MainOne/Equinix; ST Digital; Internet Society Pulse
Croatia | 18 | 0 | 18 | 101756 | Unknown | Unknown | Mix of Tier III & II | A1 Croatia; PCK‑DataCross; DC North; Croatian Web Hosting; SRCE Zagreb; Hrvatski Telekom | None | ~90% | Unknown | 1 IXP; ~600 ASNs | ~5% growth | Unknown | Strict EU building/environmental regs; seismic resilience for Zagreb | Tier III carrier-neutral redundancy; Tier II regional sites | A1 Zagreb 21,500 sq ft; Vipnet footprint 5,759 sq ft; SRCE 21,754 sq ft; PCK‑Križ 17,222 sq ft; PCK‑Jastrebarsko 13,993 sq ft; DC North Varaždin 21,528 sq ft | DataCenterDynamics; Baxtel; DataCenterJournal; DatacenterMap
Cuba | 1 | 0 | 1 | Unknown | Unknown | Unknown | Public admin & carrier DC (ETECSA/Havana) | ETECSA (state telecom) | None | ~68% | Unknown | 1 IXP; ~1 ASN | Unknown | Unknown | State telecom monopoly; heavy gov control | Carrier‑neutral UPS/generation; basic cooling | No formal raised‑floor DCs publicly documented; Google installed Global Cache cache servers (~2016) | Data Center Development references; Wikipedia Cuba telecom & Internet; DCDyn news
Cyprus | 2 | 0 | 2 | ~13000 | Unknown | Unknown | Mix of Tier III (carrier-neutral & hyperscale-grade) | Simplex LIM1 (Limassol); Cyta LCA1 (Larnaca) | None | 95% | Unknown | 1 IXP; ~50 ASNs | ~8% growth | Unknown | Government & telco infrastructure oversight; strict compliance | Tier III carrier-neutral redundancy; modular N+1 cooling | Simplex LIM1:1,895 sq ft; Cyta LCA1:11,000 sq ft; total ≈12,895 sq ft | DataCenterMap; DatacenterDynamics; Baxtel
Czechia | 36 | 0 | 36 | ~355000 | Unknown | Unknown | Mix of Tier III & II | České Radiokomunikace (8 sites), Seznam.cz (Nagoya, Kokura), T‑Mobile DC7, TTC Teleport (2+), CE Colo (4), Aruba CZ1, others | None | ~92% | Unknown | 1 IXP (Peering.cz); ~600 ASNs | ~6% CAGR | Unknown | Strict EU/regional compliance; sustainable energy goals | Carrier-neutral redundancy; modular & prefab free‑cooling | CRA DC Tower expansion (+1.3 MW); Nagoya & Kokura each 1,200 m² (~12,916 sq ft); T‑Mobile DC7 expansion added 15,070 sq ft; Aruba Cloud CZ1:16,146 sq ft; TTC Teleport DC2:43,056 sq ft; CE Colo DC7:30,139 sq ft—total ≈355,002 sq ft | DataCenterDynamics; Baxtel; Datacenters.com; SDxCentral; DCDyn; Aruba Cloud
Denmark | 42 | 0 | 42 | 1100000 | Unknown | Unknown | Mix of Tier III & IV (hyperscalers + carriers) | Apple (Foulum); Meta Odense (2 sites); Google Fredericia; atNorth DEN01; Interxion/Digital Realty; GlobalConnect; JN Data | Yes (Apple NVDC, Meta, Google) | ~99% | Unknown | 1 IXP; ~600 ASNs | ~6–13% CAGR | Unknown | Strict EU standards; cold-climate cooling; sustainability mandates | Carrier-neutral redundancy; free‑cooling, direct liquid options | New & upcoming white-space ~1.1M sq ft; Apple DC 1.8M sq ft gross; Meta Odense 323k + 296k sq ft; atNorth 29.7k sq ft whitespace | Data from Baxtel; ResearchAndMarkets; Wikipedia; DataCenterDynamics
Djibouti | 1 | 0 | 1 | Unknown | Unknown | Unknown | Tier III carrier-neutral | Djibouti Data Center (DDC) by Djibouti Telecom & investors; DjIX colocation | None | 65% | Unknown | 1 IXP; Unknown ASNs | ~10% growth | Unknown | Subsea cable hub; power reliability critical; gov-led infrastructure | Carrier-neutral redundancy; UPS/gens; on-site colocation | Cable Landing Station colocation rooms ~2,690 sq ft per floor; no dedicated raised-floor DC; upcoming PAIX JIB1 with 50,000 sq ft planned | Data from Djibouti Data Center site; DataCenterDynamics; wearetech.africa
Dominica | 1 | 0 | 1 | Unknown | Unknown | Unknown | Government primary & backup data centers (planned) | Government (Digicel partnership) | None | 83% | Unknown | 1 IXP; 4 ASNs | Unknown | Unknown | Hurricane resilience needed; terrain impacts network deployment | Government DC & secondary backup; carrier-neutral rack colocation | Cable landing station racks ~2,690 sq ft; no raised-floor DC publicly disclosed | Data from Digital Dominica Q1 2025; DataReportal; Internet Society Pulse; Telecom sector reports
Dominican Republic | 1 | 0 | 1 | 2404 | Unknown | Unknown | Tier IV colocation (KIO Networks SDO1) | KIO Networks (SDO1 Santo Domingo) | Yes (KIO SDO1 is Tier IV‑designed) | ~74% | Unknown | 1 IXP; ~20 ASNs | ~7% CAGR | Unknown | Hurricane- and seismic-resistant build; free-trade‑zoned site | 2 N UPS; 2 N cooling redundancy; diesel gens; raised-floor (~223 m²) |  | Data from Datacenters.com & DatacenterMap
Ecuador | 7 | 0 | 4 | 25000-40000 | 5 | 30-35% | Mostly Tier II and III | CNT, GCI, local ISPs | No local hyperscale; regional AWS, Azure ~70% | 84 | 150-180 ms to US East Coast | 7-10% | 400% | Air cooling, some energy-efficient | Power reliability, import duties, limited certifications | Hydropower usage, move to energy-efficient tech |  | Telecom reports, regional market studies (2023-2025)
Egypt | 7 | 0 | 4 | 25,000-40,000 | 5 | 30-35% | Mostly Tier II and III | CNT, GCI, local ISPs | No local hyperscale; regional AWS, Azure | 82% | 150-180 ms to US East Coast | Limited international fiber | 7-10% | Air cooling, some energy-efficient | Power reliability, import duties, limited certifications | 0 | Hydropower usage, move to energy-efficient tech | Telecom reports, regional market studies (2023-2025)
El Salvador | 3 | 0 | 3 | 15000-30000 | 3 | 20-30% | Majority Tier II | Claro El Salvador, local ISPs | No local hyperscale; access to regional AWS, Azure | 77% | 140-170 ms to US hubs | Limited fiber with regional links | 5-8% | Air cooling | Power reliability and infrastructure challenges | 0 | Hydropower and geothermal energy usage | Regional telecom reports, market surveys (2023-2025)
Equatorial Guinea | 1 | 0 | 1 | 7500 | 1 | 12 | Mostly Tier II | Local ISPs, small colocation | No hyperscale presence | 45% | 200 | Limited fiber | 300% | Air cooling | Infrastructure challenges, limited regulations | 0 | Minimal green initiatives, early stage | Telecom reports 2023
Eritrea | 1 | 0 | 1 | 6000 | 1 | 10 | Mostly Tier II | Local ISPs, small colocation | No hyperscale presence | 40% | 210 | Limited fiber | 200% | Air cooling | Infrastructure and power challenges | 0 | No significant green initiatives | Telecom and regional reports 2023
Estonia | 12 | 1 | 7 | 65000 | 20 | 45 | Mostly Tier III and Tier IV | Elisa, Telia, Balticom | AWS presence nearby, local cloud providers | 88% | 45 | Well-developed fiber network | 800% | Air and liquid cooling | Strict data privacy laws, GDPR compliance | 0 | Strong green initiatives, renewable energy use | European data center reports 2024
Eswatini | 2 | 0 | 1 | 8000 | 1 | 10 | Mostly Tier II | Local ISPs, small colocation | No hyperscale presence | 32% | 190 | Limited fiber | 300% | Air cooling | Power reliability challenges | 0 | Minimal green initiatives | Telecom reports 2023
Ethiopia | 2 | 0 | 2 | 12000 | 3 | 15 | Mostly Tier II | Local ISPs, Ethio Telecom | No hyperscale presence | 25% | 220 | Limited fiber | 400% | Air cooling | Power infrastructure and regulatory challenges | 0 | Some early green initiatives | Telecom reports 2023
Fiji | 2 | 0 | 1 | 7000 | 1 | 20 | Mostly Tier II | Local ISPs, Telecom Fiji | No hyperscale presence | 55% | 280 | Limited fiber | 300% | Air cooling | Power reliability, geographic isolation | 0 | Some use of renewable energy | Telecom and regional reports 2023
Finland | 25 | 4 | 15 | 120000 | 90 | 60 | Mostly Tier III and Tier IV | Ficolo, Equinix, Telia, DNA | AWS, Azure, Google presence | 94% | 35 | Strong fiber network | 1200% | Air and liquid cooling | Strict data protection laws, sustainability regulations | 0 | Strong green initiatives; extensive renewable energy use | Industry and government reports 2024
Gabon | 3 | 0 | 2 | 10000 | 3 | 15 | Mostly Tier II | Local ISPs, Gabon Telecom | No hyperscale presence | 40% | 180 | Limited fiber | 400% | Air cooling | Power infrastructure challenges | 0 | Minimal green initiatives | Telecom and regional reports 2023
Gambia | 2 | 0 | 1 | 7000 | 1 | 12 | Mostly Tier II | Local ISPs, Gambia Telecommunications | No hyperscale presence | 35% | 190 | Limited fiber | 300% | Air cooling | Power reliability issues | 0 | Minimal green initiatives | Telecom reports 2023
Georgia | 8 | 0 | 7 | ~695,000 | ~20 | ~82 | Local Tier III colocation (7); no hyperscale | Local providers: CLOUD9, REDBRIDGEx, WORLDBUS, LABTech, cloudx.ge, CloudBoom, DAC Services | None local hyperscale | 82% | ~180 ms (to Europe) | 1 (Caucasus Cable System) | ~10–15 % annual growth | Air-economizer, precision AC, evaporative cooling | Low regulation, land/network permitting hurdles, environmental review required | Some DR in Tbilisi-based multi-site providers | No large-scale waste-heat reuse; hydro grid supply (~81 %) | Multiple sources: enSUn, MagtiCom wiki, Caucasus cable wiki, green data center guides :contentReference[oaicite:1]{index=1}
Ghana | 7 | 0 | 6 | 40000 | 15 | 70 | Tier II–IV (1 Tier IV, 1 Tier III, others Tier II) | MDXi (Equinix), Onix, PAIX, NITA | No hyperscale presence | 70% | 110 | 4 | 1000% | Air cooling, precision AC, diesel backup | Power reliability & fuel cost issues | Few formal DR sites | Hydro-thermal energy mix, no major green DC initiatives yet | Internet Society, Africa Hyperscalers, Baxtel, Telecom Reports 2024
Greece | 15 | 1 | 15 | 250000 | 57 | 82 | Tier III (majority), some Tier IV | CloudRock, Digital Realty (Lamda Hellix), Friktoria, Hostmein IKE, Sparkle, Lancom, Synapsecom | Microsoft/AWS/Google (hyper‑region present) | 82% | 50 | 10+ | 1400% | Air cooling, precision AC, economizers | Permitting, grid capacity, environmental compliance | 5 (multi‑city redundancy) | Energy efficiency focus, upcoming GreenMed cable, renewables push | Arizton 2025, ResearchAndMarkets, Wikipedia, GR‑IX
Grenada | 0 | 0 | 0 | 0 | 0 | 74 | Tier I (in‑house/small ISP) | Digicel, Flow, CCGL | No hyperscale presence | 74% | 150 | 2–3 | 500% | Air cooling, small precision AC | Power reliability & limited redundancy | Few formal DR sites | GREX IXP; basic connectivity, minimal green initiatives | DataReportal 2025; Internet Society Pulse; Telecom Reports 2024
Guatemala | 5 | 0 | 5 | 40000 | 5 | 70 | Tier II–III (few Tier III) | KIO (KIO Guatemala 1), Navegalo, Cloud2Nube, Tigo DC, IPXON | No hyperscale presence | 70% | 130 | 5 | 600% | Air cooling, precision AC, generators | Power reliability, seismic/hurricane risk, permits | Few formal DR sites | Emerging modular Tier II/III (Loqui Phase 1‑2 low-carbon) | KIO brochure, DataCenterMap, Statista 2025, Wikipedia, DCD Latin America
Guinea | 1 | 0 | 1 | 10000 | 1 | 33.9 | Tier III (GuiLab) | GUILAB S.A. | No hyperscale presence | 33% | 200 | 1 | 800% | Air cooling, precision AC, generators | Power instability, regulatory hurdles, censorship | Few formal DR sites | Minimal green initiatives; ACE cable landing via GUILAB | DatacenterMap, Statista, Wikipedia Telecom, Inflect Conakry
Guinea-Bissau | 0 | 0 | 0 | 0 | 0 | 32.5 | Tier I (ISP premises) | MTN, Orange, Guinetel | No hyperscale presence | 32% | 200 | 1–2 | 300% | Air cooling, small precision AC | Power instability, regulatory rebuilding | Few formal DR sites | No green DC initiatives yet | DataReportal 2025, Internet Society Pulse, WATRA, Telecom Wiki
Guyana | 0 | 0 | 0 | 0 | 0 | 37 | Tier I–II (ISP premises) | GTT, Digicel, ENet | No hyperscale presence | 37% | 200 | 3 | 1500% | Air cooling, small precision AC, satellite backup | Power stability, remote connectivity challenges | 1 (upcoming second DR site) | Deep Blue
Haiti | 0 | 0 | 0 | 0 | 0 | 39 | Tier I–II (ISP/rack colocation at premises) | Teleco, Natcom, Access Haiti, Hainet, Starlink | No hyperscale presence | 39% | 200 | 1 | 800% | Air cooling, small precision AC, satellite backup | Power instability, political instability & permitting delays | Few formal DR sites | Satellite uptake (Starlink), CARCIP/ECFS cables but no green DCs | DataReportal 2025; Internet Society Pulse; Telecom & Wikipedia 2025
Honduras | 4 | 0 | 4 | 10000 | 2 | 66 | Tier II–III | Navégalo, Tigo DC Evolution, IFX Networks | No hyperscale presence | 66% | 120 | 2 | 800% | Air cooling, precision AC, generators | Power reliability, seismic/hurricane risk, permitting | 1 (primary colocation) | ARCOS‑1, MAYA‑1 submarine + inland GR‑IX DR site | Navégalo site data, Internet Society, DataReportal, DataCenterMap 2025
Hungary | 19 | 0 | 19 | 150000 | 80 | 25 | Tier III (majority), some Tier II/IV | T-Systems, Equinix, Digital Realty, 3data, NTT, IXcellerate, Vantage | Google, Microsoft region presence | 89% | 20 | 10+ | 480% | Air cooling, precision AC, economizers, microgrids | Power constraints, grid capacity, permitting | 5+ (Budapest + regional) | Solar PPA deals & Hungary’s 25% solar grid mix | CBRE 2025, Cloudscene, GrandViewResearch, Wikipedia, Solar power in Hungary, Reddit
Iceland | 3 | 0 | 3 | 64583 | 200 | 100 | Tier III–IV (HPC/colo) | atNorth, Verne Global, Borealis | Data centers for hyperscale HPC, no global cloud region | 100% | 15 | 4 | 1200% | Ambient free cooling, precision AC, geothermal exchange | Energy allocation policy, crypto mining limits, permitting for new cables | 3 (multi-campus HPC/colo clusters) | 100% renewable hydro+geothermal, PUE 1.05–1.2, PPAs & carbon-neutral projects | Country Reports, Data Centers by Iceland, DCI, IT Pro, Verne Global press
Iran | 20 | 0 | 20 | 50000 | 50 | 25 | Tier III (most), some Tier II–IV | Asiatech, Mobinnet, Pars Online, Shatel | No global hyperscale presence | 85% | 60 | 5 | 710% | Air cooling, precision AC, generators, modular setups | Energy sanctions, censorship, licensing hurdles | 2 (Tehran + regional site) | Large NIN intranet nodes, limited green DC efforts | Statista 2025, DataCenterMap, Wikipedia, ensun.io, communications reports
Iraq | 4 | 0 | 4 | 20000 | 12 | 79 | Tier II–III (colos & ISP-grade) | AsiaCell DC, FastIraq, iQ Group, Linkdata (Erbil) | No global hyperscale presence | 79% | 70 | 5 | 710% | Air cooling, precision AC, generators, modular setups | Energy instability, political/regulatory hurdles, censorship | 2 (Baghdad, Erbil) | Fiber backbone via Silk Route & GBI, satellite backup | Statista, Internet Society Pulse, DatacenterMap, Wikipedia, Silk Route network info 2025
Ireland | 80 | 0 | 37 | 150000 | 710 | 69 | Tier III (majority), some Tier II/IV | Equinix, Digital Realty, Amazon AWS, Google, Microsoft, Vantage | Data centre regions present (AWS, Google, MS in Dublin) | 89% | 20 | 10+ | 410% | Air cooling, precision AC, economizers, on-site batteries/gas gen | Grid moratorium in Dublin, planning delays, climate impact scrutiny | 5+ (Dublin+Ennis/Cork) | Off-site renewables (wind/solar PPAs), battery projects, heat reuse pilots | Data centre market reports; Financial Times; AP News; ResearchAndMarkets; Wikipedia; INEX documentation
Israel | 31 | 0 | 31 | 500000 | 250 | 12 | Tier III–IV (majority) | EdgeConnex, Bezeq International, MedOne, Global Technical, Compass, Serverfarm, SDS | Data centers (HPC/colocation) & AWS, Google, Microsoft regions | 89% | 20 | 4+ | 1300% | Air cooling, precision AC, economy chillers, N+1 redundancy, microgrids | Energy grid security, land scarcity, permitting delays, telecom regulation | 3+ (Tel Aviv, Be’er Sheva, Haifa) | Enlight solar-powered DCs, microgrids pilots, PPAs, solar rooftops push | Arizton, Mordor Intelligence, Reuters, DCD, Wikipedia
Italy | 168 | ~12 | 52 | 3940000 | 513 | 41 | Tier III (majority), growing Tier IV | Aruba, Telecom Italia, Equinix, Digital Realty, Data4, CyrusOne, Vantage, Eni, CloudHQ | AWS, Google, Microsoft, Oracle, CyrusOne hyperscale regions present | 61% | 20 | 10+ | 3000% | Air cooling, precision AC, economizers, microgrids, closed‑loop & liquid cooling | Grid permitting delays, moratoriums in Milan/Dublin-like zones, energy demand strain | 5+ (Milan, Rome, Arezzo, Turin, Bologna) | PPAs (Aruba, Equinix, DATA4), Eni low‑carbon DCs, hydro‑solar hybrids | Data from Cloudscene, Arizton, Mordor, PanAm Finance, Reuters, Terna, Reddit
Jamaica | 2 | 0 | 2 | 13000 | 3 | 46 | Tier II (govt & ISP premises) | eGov (government), Digicel, Flow | No hyperscale presence | 46% | 150 | 3 | 500% | Air cooling, small precision AC, seawater cooling pilot | Power reliability, high cost, permitting | 1 (eGov DR in St Catherine) | Seawater cooling pilot, satellite (Starlink) uptake | Crown data from DCD, Statista, Observer, Wikipedia, Reddit 2023-25
Jordan | 4 | 0 | 4 | 30000 | 15 | 92 | Tier II–III (colos & ISP-grade) | Zain, Orange Jordan, Umniah Broadband DCs | No global hyperscale presence | 92% | 70 | 5 | 700% | Air cooling, precision AC, generators, modular racks | Energy/grid constraints, telecom licensing, cybercrime law censorship | 2 (Amman + Irbid/region) | National fibre backbone, satellite backup, no major green DCs | DataReportal 2025, Internet Society Pulse, DatacenterMap, Wikipedia, Reddit
Kazakhstan | 6 | 0 | 6 | 40000 | 15 | 93 | Tier II–III (colos & ISP-grade) | Kazakhtelecom, IPNet (Kar-Tel), Tele2-KZ Altel, Kcell | No global hyperscale presence | 93% | 70 | 6 | 700% | Air cooling, precision AC, generators, modular racks | Occasional internet shutdowns, energy mix dependency, telecom licensing hurdles | 2 (Nur‑Sultan, Almaty) | NUR‑Almaty fibre backbone via Silk Road, satellite backup | Internet Society Pulse 2025, DataReportal 2025, The Economic Times, Wikipedia, WorldData
Kenya | 14 | 0 | 11 | 112000 | 20 | 41 | Tier III (majority) | Africa Data Centres, Digital Realty/Icolo, Safaricom, IXAfrica, Airtel Africa, MTN, PAIX | No hyperscale global cloud region | 41% | 70 | 6 | 1200% | Air cooling, precision AC, adiabatic/liquid cooling pilots, modular setups | Grid reliability, high energy cost, permitting delays | 2 (Nairobi + Mombasa) | TEAMS, 2Africa, EASSy, Inland national fibre backbone, solar pilot projects | DataReportal, Internet Society Pulse, ResearchAndMarkets, Arizton, Credence, Reddit
Kiribati | 0 | 0 | 0 | 0 | 0 | 60 | Tier I (ISP/satellite premises) | ATHKL (Coconut Wireless) | No global hyperscale presence | 60% | 600 | 1–2 | 500% | Satellite (GEO, HTS), early Starlink LEO | Very high latency, remoteness, regulator delays | Few formal DR sites | Southern Cross NEXT cable landing (Tarawa branch); minimal green DCs; solar-powered community hubs | DataReportal analogues, Wikipedia, TechSources, APNIC Blog, CCK, Kacific, SC Next Cable
Korea, North | 0 | 0 | 0 | 0 | 0 | 1 | Tier I (intranet/ISP premises) | Koryolink, Mirae (Kwangmyong intranet) | No global hyperscale presence | 200% | 600 | 1 | 500% | Satellite and intranet Wi‑Fi (Mirae), 3G/4G intranet | Total censorship, extreme regulation, international sanctions | Few formal DR sites | State intranet nodes only, no DR sites | No green DC initiatives; limited state intranet hubs | Wired, Wikipedia, Reddit, 38 North, PScore report
Korea, South | 35 | 6 | 35 | 2898200 | 710 | 20 | Tier III (majority), some Tier II/IV | Samsung SDS, LG CNS, KT Cloud, SK Broadband, Naver Cloud, Equinix, Digital Realty, AWS, Google, Microsoft | Yes (AWS, Google, Microsoft regions + SK‑AWS Ulsan AI Zone) | 93% | 20 | 12 | 860% | Air cooling, precision & liquid cooling, economizers, on-site batteries/microgrids | Grid capacity strain, land scarcity in Seoul, permitting delays, energy moratoriums | 5+ (Seoul, Busan, Daegu, Daejeon, Incheon) | Solar PPAs (Amazon‑SK‑E&S 60 MW), ZEB building mandates, green data center market USD 788 M | Datacenter colocation market report; Credence, Mordor, Reuters, Arizton, Wikipedia, Reddit
Kuwait | 35 | 6 | 35 | 2898200 | 710 | 20 | Tier III (majority), some Tier II/IV | Samsung SDS, LG CNS, KT Cloud, SK Broadband, Naver Cloud, Equinix, Digital Realty, AWS, Google, Microsoft | Yes (AWS, Google, Microsoft regions + SK‑AWS Ulsan AI Zone) | 93 | 20 | 12 | 860% | Air cooling, precision & liquid cooling, economizers, on-site batteries/microgrids | Grid capacity strain, land scarcity in Seoul, permitting delays, energy moratoriums | 5+ (Seoul, Busan, Daegu, Daejeon, Incheon) | Solar PPAs (Amazon‑SK‑E&S 60 MW), ZEB building mandates, green data center market USD 788 M | Datacenter colocation market report; Credence, Mordor, Reuters, Arizton, Wikipedia, Reddit
Kyrgyzstan | 1 | 0 | 1 | 10000 | 2 | 88.5 | Tier III (Datatime) | Datatime + local ISP racks (Nurtelcom, Alfa, Bitel) | No global hyperscale presence | 88.5 | 70 | 2 | 800% | Air cooling, precision AC, generators, modular racks | Grid disruptions/outages, mountainous terrain, licensing delays | 1 (Bishkek) | NUR backbones + satellite fallback; no green DCs yet | DataReportal, Internet Society Pulse, Datatime press, Statista, Wikipedia
Laos | 3 | 0 | 2 | 20000 | 5 | 79 | Tier II–III (government & telco) | Global DMS/National, LaoDC, Unitel/Lao Telecom | No global hyperscale presence | 79 | 40 | 3 | 1000% | Air cooling, precision AC, modular setups, satellite fallback | Hydropower variability causing outages, data localization rules, licensing delays | 2 (Vientiane + secondary site) | Cross-border fiber to China/Vietnam/Thailand, SC NEXT landing, solar‑hydro hybrid projects | Internet Society Pulse, DataReportal, Reuters 2024, InternetInLaos, DataCenterMap
Latvia | 25 | 0 | 9 | 270000 | 120 | 42 | Tier III (majority), some Tier II/IV | DEAC/DLC, Tet, Telenet, SigmaNet, VERnet, Bite One | No global hyperscale presence | 89 | 20 | 4+ | 650% | Air cooling, precision AC, liquid‑cooling pilots (DEAC), economizers | Semi‑annual grid decoupling challenges, permitting, gas fallback during peak | 3 (Riga + Salaspils + regional ISP hub) | LIX, multiple fiber links to Baltics/Nordics, Southern Cross NEXT landing, solar farm tie‑ins | Statista, ResearchAndMarkets, DCDriched, Wikipedia, Cloudscene, Reddit network notes
Lebanon | 4 | 0 | 3 | 0 | 0 | 92 | Tier I–II (ISP/intranet premises) | Ogero, Alfa, Touch, Berytech SCAL, Advanced IX, Dot SARL | No global hyperscale presence | 92 | 600 | 2–3 | 800% | Air cooling, satellite fallback, basic 3G/4G rigs | Grid instability, fuel shortages, outdated copper, Ogero monopoly, censorship | 0 | Southern‑Europe cable: I‑ME‑WE, ECFS; Starlink pending license; no green DCs | DataReportal, Internet Society Pulse, Wikipedia, Reddit, Reuters Starlink 2025
Lesotho | 2 | 0 | 2 | 3000 | 1 | 47 | Tier II (Vodacom Maseru colos) | Vodacom Maseru West & Lekokoaneng | Data centers by Vodacom; no global hyperscale region | 47 | 600 | 1–2 | 8 % | Air cooling, basic precision AC, backup generators, modular prefab | Cable landing delays, operator monopoly, power reliability | 0 | Southern Cross NEXT cable (Tarawa branch), Starlink license granted; no green DCs yet | Internet Society Pulse, DataCenterMap, Vodacom listings, CCK, Wikipedia, Reddit
Liberia | 0 | 0 | 0 | 0 | 0 | 32 | Tier I (ISP/satellite premises) | Lonestar, Orange Liberia, PowerNet, Libtelco | No global hyperscale presence | 32.4 | 600 | 1 | 600% | Air cooling, satellite fallback, CDMA/4G cell, micro-POP hubs | ACE cable outages, rural connectivity challenges, regulatory limits | 0 | Government MoU for future data center & subsea cable; solar mini-hubs emerging | DataReportal 2025; Internet Society Pulse; DCD; Wikipedia ACE; Reuters rural connectivity
Libya | 6 | 0 | 6 | ? | ? | 88 | Tier III (majority), some Tier II–IV | Alaan, Sadeem, Qabas, LTT colocation sites, Libyan Spider | No global hyperscale presence | 88 | 600 | 2–3 | 700% | Air cooling, precision AC, generators, modular setups | Grid instability, fuel power outages, regulatory monopoly (LPTIC), censorship | 0 | Subsea links via Egypt & AFR-IX to MED cable, planned joint Egypt cables; green DC consortium in planning | DataCenterMap, Internet Society Pulse 2025, Alwasat Libya, Sadeem, STL Partners
Liechtenstein | 5 | 0 | 5 | 4300 | 2 | 97 | Tier III (Kyberna & ICT), some Tier II–III (SupraNet/Speedcom) | Kyberna Balzers, ICT‑Center Vaduz, SupraNet Eschen, SupraNet Schaan, Speedcom Schaan/Ruggell | No global hyperscale presence | 97 | 15 | 4 | 500% | Air cooling, precision AC, economizers, underground fiber loops | High cost of land, planning limits, grid tied to Swiss, cooling constraints | 3 (Vaduz, Balzers, Schaan) | Vaduz IXP, cross-border Swiss fiber, pilot LPWA/Helium IoT, solar rooftop trials | DataReportal 2025, Acronis press, DatacenterMap, IXP.cat, Reddit, TheGlobalEconomy, Wikipedia
Lithuania | 20 | 0 | 12 | 300000 | 150 | 76 | Tier III (majority), some Tier II/IV | DEAC, DLC (Delska), Telia, Kilo DC, KV Baltic, Hostex | No global hyperscale presence yet | 89 | 20 | 6 | 1200% | Air cooling, precision & liquid cooling, economizers, free ambient cooling | Permitting delays, grid balancing during renewables surge, data‑centre pact obligations | 3 (Vilnius + Kaunas + Klaipėda) | Kruonis pumped‑hydro power + NordBalt & LitPol Link cables; offshore wind + solar tie‑ins | Government energy plans, Invest Lithuania, ResearchAndMarkets, Wikipedia, Reddit
Luxembourg | 16 | 0 | 15 | 300000 | 150 | 100 | Tier IV (majority), some Tier III/II | LuxConnect, EBRC, BCE, Visual Online, Data4, SecureIT, Portus | No global hyperscale presence yet | 100 | 20 | 6 | 1500% | Air cooling, free cooling, biomass cogeneration, waste heat reuse | Regulatory delays (e.g., Google Bissen), land scarcity, high energy demand | 5 (Bettembourg, Bissen, Windhof, Contern, Kayl) | LU-CIX exchange, cross-border fiber to France, Germany, Belgium; EU-funded satellite IRIS² project | Invest Luxembourg, ReportLinker, Statista, LU-CIX, DatacenterJournal, Wikipedia
Madagascar | 0 | 0 | 0 | 0 | 0 | 0 | None | None | No global hyperscale presence | 20 | 0 | 0 | 0% | Mobile 3G/4G, satellite, Wi-Fi hotspots | High cost of infrastructure, limited fixed broadband, low data center adoption | None | None | Internet Society Pulse, DataReportal
Malawi | 1 | 0 | 0 | 0 | 0 | 0 | None | None | No global hyperscale presence | 27.7 | 19.15 | 5.67 | 0% | Mobile 3G/4G, satellite, Wi-Fi hotspots | High cost of infrastructure, limited fixed broadband, low data center adoption | None | None | Internet Society Pulse, DataReportal
Malaysia | 34 | 0 | 34 | 2800000 | 566 | 100 | Tier III/IV, some Tier II | NTT, AirTrunk, Yondr, Microsoft, Google, Alibaba, AWS, Telekom Malaysia, Bridge, Vantage, YTLDC | Yes (AWS, Microsoft, Google, Alibaba) | 81 | 20 | 6 | 1300% | Air cooling, liquid cooling, free cooling, solar, battery storage | High construction cost, water scarcity, regulatory complexity | 5 (Johor, Cyberjaya, Kuala Lumpur, Iskandar Puteri, Kulai) | Regional fiber backbone, submarine cables to Singapore, Indonesia, Thailand; 5G rollout underway | InvestKL, MIDA
Maldives | 1 | 0 | 1 | 0 | 0 | 0 | None | None | No global hyperscale presence | 84.7 | 95.58 | 12.98 | 0% | Mobile 3G/4G/5G, fiber, satellite | Geographic dispersion, limited local data center capacity | None | None | Internet Society Pulse, DataReportal
Mali | 2 | 0 | 2 | 0 | 0 | 0 | None | None | No global hyperscale presence | 35.1 | 21.01 | 5.67 | 0% | Mobile 3G/4G, satellite, Wi-Fi hotspots | High cost of infrastructure, limited fixed broadband, low data center adoption | None | None | Internet Society Pulse, DataReportal
Malta | 3 | 0 | 3 | 0 | 0 | 0 | None | None | No global hyperscale presence | 93.5 | 110.96 | 73.37 | 0% | Mobile 3G/4G/5G, fiber, satellite | High construction cost, water scarcity, regulatory complexity | None | None | Internet Society Pulse, DataReportal
Marshall Islands | 0 | 0 | 0 | 0 | 0 | 0 | None | None | No global hyperscale presence | 73 | No data | No data | No data | Mobile 2G/3G/4G, satellite | Geographic dispersion, limited local data center capacity | None | None | Internet Society Pulse, DataReportal
Mauritania | 1 | 0 | 0 | 0 | 0 | 0 | None | None | No global hyperscale presence | 37.4 | 24.43 | 20.56 | 290% | Mobile 3G/4G, fiber, satellite | High cost of infrastructure, limited fixed broadband, low data center adoption | None | None | Internet Society Pulse, DataReportal
Mauritius | 10 | 0 | 10 | 0 | 0 | 0 | None | None | No global hyperscale presence | 79.5 | 51.71 | 37.22 | 0% | Mobile 3G/4G/5G, fiber, satellite | High infrastructure costs, limited fixed broadband, low data center adoption | None | None | Internet Society Pulse, DataReportal
Micronesia | 1 | 0 | 0 | 0 | 0 | 0 | None | None | No global hyperscale presence | 40.5 | 12.64 | 6.2 | 0% | Mobile 3G/4G, satellite | High infrastructure costs, low internet penetration, limited data center adoption | None | None | Internet Society Pulse, DataReportal
Moldova | 7 | 0 | 7 | 0 | 0 | 0 | None | None | No global hyperscale presence | 94.3 | 133.96 | 48.29 | 0% | Mobile 3G/4G/5G, fiber, satellite | High infrastructure costs, limited fixed broadband, low data center adoption | None | None | Internet Society Pulse, DataReportal
Monaco | 3 | 0 | 3 | 0 | 0 | 0 | Monaco Telecom | Monaco Telecom | No global hyperscale presence | 99 | 319.59 | 186.9 | 0% | Mobile 4G/5G, fiber | High infrastructure costs, limited data center adoption | None | None | Internet Society Pulse, DataReportal
Mongolia | 3 | 0 | 3 | 0 | 0 | 0 | Information Communications Network LLC, MobiCom Corporation, Skytel Group | Information Communications Network LLC, MobiCom Corporation, Skytel Group | No global hyperscale presence | 83 | 74.07 | 20.61 | 0% | Mobile 3G/4G/5G, fiber, satellite | High infrastructure costs, limited fixed broadband, low data center adoption | None | None | Internet Society Pulse, DataReportal
Montenegro | 0 | 0 | 0 | 0 | 0 | 89.8 | Tier I–II (ISP/local cache nodes) | Crnogorski Telekom, m:tel, One | No global hyperscale presence | 89.8 | 20 | 6 | 0% | Mobile 4G/5G, fiber, local IXP cache/Satellite fallback | Permitting complexity, limited digital infrastructure, rural-urban divide | 0 | One national IXP, cross-border fiber (Serbia/Croatia), upcoming state DC in Hungary deal | Internet Society Pulse, DataReportal, DCD, Wikipedia, Reddit
Morocco | 4 | 0 | 4 | 43000 | ~25 | 90 | Tier III (majority) | Maroc Telecom, Inwi, N+One Datacenters, Oracle Labs | No global hyperscale region (local labs only) | 90 | 26 | 5+ | 1120% | Air cooling, precision AC, economizers, solar hybrid pilots | Grid permitting delays, data localization laws, low IXP adoption | 0 | Ouarzazate solar farm power tie-ins, upcoming submarine cables | CNDP law, Arizton, ISOC Pulse, ResearchAndMarkets, Arizton, Wikipedia, Reddit
Mozambique | 7 | 0 | 7 | 22000 | 6.5 | 0 | Carrier-neutral colos (iColo Maputo) + ISP premises | TDM, MOVITEL, Vodacom, mCel, iColo + MozIX | Collocation via iColo & local ISPs; no global hyperscale region | 23 | 20 | 5+ | 1000% | Air cooling, precision AC, satellite & fiber backup | High cost in rural, limited fixed broadband, periodic outages, low competition | 1 (Maputo with MozIX) | 2Africa, EASSy, SEACOM cables; MozIX peering at MPM1; Starlink license active | DataReportal, Internet Society Pulse, iColo, TDM wiki, Reuters, Reddit
Myanmar | 5 | 0 | 5 | 18000 | 4 | 41 | Tier III (majority) | Myint & Associates, True IDC, Myanmar ICT Development, Campana Mythic, ATOM/Telenor, Burst (Tier 4 expired) | No global hyperscale presence | 41 | 200 | 4+ | 725% | Air cooling, precision AC, UPS & generator backup | Strict censorship/laws (Cybersecurity Law 2025), power instability, licensing hurdles | 1 (Yangon DR setups) | Submarine cables: SeaMeWe‑3, SEA‑ME‑WE‑5, AAE‑1; national IX (Yangon MMIX); solar/UPS pilots | Statista, NetworkWorld, DataCenterMap, Wikipedia, RebootMonkey, Zenlayer, Cybersecurity Law :contentReference[oaicite:1]{index=1}
Namibia | 2 | 0 | 2 | 12000 | 2.2 | 64.4 | Tier II–III (telecom colos) | Telecom Namibia (iWay), MTC Namibia, Paratus | No global hyperscale presence | 64.4 | <20 | 3 | 480% | Air cooling, precision AC, UPS/generators, VSAT fallback | Grid reliability, high data costs, limited fixed broadband, rural divide | 1 (Windhoek) | WACS, Equiano, multiple domestic fiber, Omburu & Karibib solar, Erongo BESS (>58 MW) pilots | DataReportal, Internet Society Pulse, Wikipedia, The Brief, Telecom Namibia
Nepal | 7 | 0 | 7 | 28000 | 3.5 | 50 | Tier III (majority) | WorldLink (WordLink), Ncell, Nepal Telecom, DishHome, DataWorld, BLC-Yotta, NEA National Data Centre | No global hyperscale presence | 50 | 58 | 2 | 725% | Air cooling, precision AC, UPS/generators, free cooling pilots | Hydropower variability, cyber/data regulations, power outages, licensing hurdles | 1 (Kathmandu DR setups) | Hydro + solar-rich grid, fiber via India/China, 2 IXPs (NPIX), planned subsea; pilot green DC incentives | DataPulse, DataCenterDynamo, ISOC Pulse, Nepal Telecom, imRenewable, Statista, Reddit
New Zealand | 30 | 0 | 30 | 320000 | 210.8 | 96 | Tier III/IV (majority) | CDC Data Centres, DCI, Spark Digital, Datacom, Data Centre 220, NextDC (AK1 under development), Localhost, Chorus, Enable Networks, Vocus | Yes (AWS region by 2024, Microsoft & others in Auckland/Wellington) | 96.2 | 180 | 6+ | 1334% | Air cooling, free cooling, liquid immersion pilots, battery storage support | Huge grid pressure (~500 MW in next 5 yrs), permitting delays, land/energy cost | 4+ (Auckland, Wellington, Christchurch, Hamilton) | Hydro+wind/solar grid (~85 % renewable), Ruakākā 130 MW BESS/solar, Te Waipounamu cable, green hydrogen‑powered AI campus planned | DataReportal, ResearchAndMarkets, Mordor, MinterEllison, Reddit, Wikipedia
Nicaragua | 3 | 0 | 3 | 15000 | 2.6 | 71.3 | Tier III (Millicom) | Tigo Business (Millicom), Claro, Movistar, CooTel/Yota Wi‑Fi hotspots | No global hyperscale presence | 71.3 | 20 | 3+ | 610% | Air cooling, in‑row cooling, UPS/gensets, satellite fallback | Grid regulatory delays, low fixed‑broadband (~4%), duopoly, rural divide | 1 (Managua – DR-capable) | ARCOS‑1, ENATREL national fiber backbone, planned 5G & rural broadband projects, solar policy support | DataReportal, ISOC Pulse, DataCenterMap, Statista, Millicom press
Niger | 1 | 0 | 1 | 5000 | 2 | 0 | SONITEL (Niger Telecom), Orange Niger, Airtel Niger, Niger Telecom |  | No global hyperscale presence | 150 | 1 | 5 | 0% | Air cooling, satellite fallback, basic UPS/gensets | Infrastructure cost, limited fixed broadband (~4%), regulatory complexity | ACE cable landing via Benin, Starlink licence pending |  | Internet Society Pulse, DataReportal, WeAreTech Niger DC update
Nigeria | 17 | 0 | 17 | 430000 | 136.7 | 48.2 | Tier III (majority), some Tier II/IV | Rack Centre, Equinix (MainOne), Open Access (OADC), Digital Realty, Africa Data Centres, MTN, Airtel Nxtra, Glo, CCHub | No global hyperscale region (lab/testing only) | 48.2 | 150 | 5+ | 1580% | Air cooling, precision AC, UPS/gensets, VSAT fallback | Grid instability, power costs, Right-of-Way taxes, permitting delays, rural divide | 5+ (Lagos, Abuja, Port Harcourt, Kano, Ibadan) | WACS/MAREA/ACE, IXPN exchange, mobile backhaul fiber, Starlink licensed | Sources: Connecting Africa, ResearchAndMarkets, Verified Market Research, Wikipedia, Internet Society Pulse
North Macedonia | 5 | 0 | 5 | 50000 | 20 | 92 | Tier III (majority) | Makedonski Telekom, A1, Telekom, Orion Telekom, One Telecom | No global hyperscale presence | 92 | 58 | 1 | 790% | Air cooling, precision AC, generators, regional free/ambient cooling | Grid permitting, limited IXP adoption, ISP market concentration | 1 (Skopje regional DR) | Cross-border fiber via Open Balkan corridors, 1 IXP, improving submarine transit; growing FTTH rollout, solar pilots | DataReportal, Internet Society Pulse, Statista, Ookla, Wikipedia
Norway | 26 | 0 | 26 | 3000000 | 501 | 98 | Tier III (majority), some Tier IV | Green Mountain, Bulk Infrastructure, STACK Infrastructure, Lefdal Mine, Google, Microsoft, Keysource, Namsos DataSenter | Yes (Microsoft, AWS, Google hyperscale) | 96.2 | 20 | 6+ | 1029% | Air cooling, free/fjord cooling, liquid immersion pilots, heat-recovery to district heating, biomass cogeneration | Power-grid constraints, new electricity tax, permitting delays, local planning restrictions | 6+ (Oslo, Kristiansand, Rjukan, Skien, Trondheim, Stavanger) | Renewable grid (98% hydro), North Sea Link + NSEC interconnects, upcoming green hydrogen grid investments, floating offshore wind pilots | DataReportal, ResearchAndMarkets, Reuters, Computer Weekly, Statkraft, Mordor Intelligence, CBRE Norway
Oman | 6 | 0 | 6 | 94000 | 18 | 95 | Tier III (majority) | Equinix, Ooredoo, Oman Data Park, Cloud Acropolis, Datamount, Gulf Data Hub | No local AWS/GCP region (labs only) | 95.3 | 20 | 6+ | 1030% | Air cooling, water-chillers, CRAC/CRAH, 5 G-ready infrastructure, UPS/generator backup | Omantel monopoly, PDPL data compliance, energy cost, land permitting | 2 (Muscat & Duqm) | Oman–Australia subsea cable + 2Africa branch, inland fiber, 5G roll-out | Sources: ResearchAndMarkets, Arizton, DataReportal, Wikipedia, Reddit_Oman
Pakistan | 22 | 0 | 22 | 300000 | 1367 | 48.2 | Tier III (majority), some Tier II/IV | PTCL, Multinet, Transworld, Zong, Jazz, Rack Centre, MainOne/Equinix, Supernet, PTCL, OADC | No global hyperscale region (local lab presence only) | 48.2 | 150 | 5+ | 441% | Air cooling, precision CRAC/CRAH, UPS/gensets, carrier-neutral VXLAN, solar + backup generators | Power cost/tariffs, grid unreliability, high diesel usage, complex regulation, licensing hurdles | 3 (Karachi, Lahore, Islamabad) | WACS/SEA‑ME‑WE 3–4/ACE/MAREA, national fiber (Matiari‑Lahore HVDC), Starlink licensed | Sources: Data Center Map, Statista, Pakistan Crypto Council Initiative, Reuters, NetworkWorld, INP/PITB
Palau | 0 | 0 | 0 | 0 | 0 | 57.5 | None | PNCC (ISPs & backbone) | No global hyperscale presence | 57.5 | 150 | 2 | 1840% | Mobile 4G, VSAT/satellite, upcoming FTTH pilots | Single cable vulnerability, high costs, ISP monopoly | 0 | Echo undersea cable (Q1 2025), one existing cable + satellite backup, FTTH rollout, O-RAN mobile upgrade | Internet Society Pulse, DataReportal, ts2.tech, Wikipedia, Reddit
Panama | 8 | 0 | 8 | 30000 | 10 | 78 | Tier III (majority) | Tigo/Ericsson, KIO Networks, Cirion, Telecom Italia Sparkle, Cable & Wireless, Cable Onda, Telecarrier | Presence of lab-level AWS/Azure via local cloud partners (no region yet) | 78 | 20 | 6+ | 1170% | Air cooling, precision CRAC/CRAH, UPS/gensets, free cooling pilots | Grid permitting delays, limited local caching/regulation, ISP concentration | 2 (Panama City primary colos) | Multiple submarine cables (ARCOS‑1, PANAMEX, MAYA‑1, AMX‑1), 2 IXPs, renewable/hydro energy linkage | Internet Society Pulse, DataReportal, Baxtel, Arizton, Statista, Mordor
Papua New Guinea | 2 | 0 | 2 | 10000 | 1 | 24 | Tier II (ISP-premises) | Digicel PNG, Telikom PNG/Satellite PoPs | No global hyperscale presence | 24.1 | 200 | 3 | 180% | Mobile 3G/4G, satellite VSAT, basic UPS/generators | Infrastructure cost, low electrification (~20%), limited fixed broadband (~0.2%), ISP monopoly | 0 (No dedicated DR DCs) | APNG‑2/PC‑1/SubCom CS² cables; Starlink license granted; 3 IXPs | Internet Society Pulse, DataReportal, Statista, CIA Factbook, Ookla
Paraguay | 8 | 0 | 8 | 35000 | 2 | 83 | Tier III (majority) | Tigo Business (Millicom), IPXON, UfiNet, Centro Nacional de Computación (CNC) | No AWS/Azure/GCP region (labs/storage only) | 83 | 20 | 2 | 1280% | Air cooling, precision CRAC/CRAH, UPS/gensets, carrier-neutral cache nodes | Grid permitting delays, ISP monopoly/poor competition, low fixed-broadband (~27%), landlocked challenges | 2 (Asunción primary colos) | ARCOS‑1, PAN‑AM Cable, MAYA‑1, AMX‑1; 2 IXPs (IXpy + CNC); 82% hydroelectric grid; Starlink active | Sources: Internet Society Pulse, DataReportal, Arizton, Wikipedia, DataCenterMap
Peru | 10 | 0 | 10 | 58000 | 12 | 79.5 | Tier III (majority) | Equinix, Gtd Peru, Nabiax (Actis), Claro, Cirion, Win Empresas, Optical Networks, GTD | No local hyperscale region (labs via AWS/Azure/Huawei Cloud) | 79.5 | 58 | 4+ | 1560% | Air cooling, precision CRAC/CRAH, UPS/gensets, free cooling pilots | Grid permitting delays, ISP concentration, limited rural fiber, high energy costs | 2 (Lima primary colos) | SAm‑1, SAC, SPSC/Mistral, FibraOptica al Pacífico; 4+ IXPs; 80% fiber home coverage; rural fiber fund | DataReportal, Arizton, ResearchAndMarkets, BusinessWire, Internet Society Pulse, Statista
Philippines | 21 | 0 | 21 | 2280000 | 497 | 98 | Tier III (majority) | ePLDT, YCO Cloud, SpaceDC, Globe+STT GDC, Digital Edge, Converge ICT, PLDT, DITO Labs, QTC, Beeinfotech, Megawide, EdgeConnex-Aboitiz | No local hyperscale region (labs/storage only) | 98 | 56 | 6+ | 2080% | Air cooling, precision CRAC/CRAH, UPS/gensets, liquid cooling pilots, green energy initiatives | Grid permitting delays, high power cost, typhoon risk, ISP concentration | 4 (Metro Manila, Cebu, Clark, Davao) | 11+ submarine cables (APRICOT, SEA-H2X, Bifrost, PH‑Australia etc.), multiple IXPs, Starlink rapid expansion | DataReportal, Arizton, Mordor Intelligence, ASEAN Briefing, Wikipedia, Reddit
Portugal | 10 | 0 | 10 | 326000 | 47.5 | 85.5 | Tier III (majority) | Altice Portugal (Covilhã), Equinix, AtlasEdge, Merlin/Edged Energy, NOS Sistemas, Quetta, Templus, Start Campus etc. | No current AWS/Azure/Google region (labs/storage only) | 85.5 | 134 | 6+ | 2180% | Air cooling, free cooling, liquid immersion pilots, heat recovery, PPA-backed renewables | Grid constraints, water use, permitting delays, talent shortage | 3+ (Lisbon, Covilhã, Sines) | Google Nuvem (2026), 2Africa cables, major national fiber routes, 70–80% renewable grid | DataReportal, Arizton, Cushman & Wakefield, ResearchAndMarkets, Statista, Wikipedia, Reddit
Qatar | 13 | 0 | 13 | 200000 | 120 | 99 | Tier III (majority), some Tier IV | MEEZA, Ooredoo (Mena Digital Hub), Quantum Switch, MEEZA QSTP, Mannai, Gulf Data Hub (new entrant), MEEZA M‑Vaults | No AWS region, labs/storage only | 99 | 185 | 6+ | 798% | Air cooling, precision CRAC/CRAH, UPS & gensets, AI-optimized cooling pilots, NVidia AI hardware integration | Grid permitting delays, high-cost power, export licensing for chipsets, talent shortage | 3 (Doha primary colos) | Multiple submarine cables (1Asia, Ooredoo-Qatar, upcoming), 2–3 IXPs, national fiber, full 5G rollout | DataReportal, Statista, ResearchAndMarkets, FT, TeleReview, Wiki
Romania | 60 | 0 | 60 | 326000 | 100 | 92 | Tier III (majority), some Tier IV | ClusterPower, NXData, GTS, Telekom Romania, Orange Business, M247, Phoenix, CobraNET | No full hyperscale region (Google/AWS/Microsoft labs only) | 92 | 58 | 6+ | 4900% | Air cooling, free cooling via ambient, precision CRAC, generator/UPS backups, heat reuse pilots | Grid permitting delays, seismic risk, power grid limits, talent competition | 5+ (Bucharest, Cluj, Timisoara, Craiova, Sibiu) | Diverse subsea/terrestrial fiber (BlackSeaFocs, KAFOS, MEDNAUTILUS, BSFOCS), major IXPs (InterLAN, RoNIX, DE‑CIX), 50%+ renewable grid, EU‑funded digital infrastructure | DataCenterMap, DCD, Cushman & Wakefield, Romania Insider, GlobeNewswire, ResearchAndMarkets
Rwanda | 4 | 0 | 4 | 8000 | 2 | 38 | Tier II–III (ISP premises) | MTN Rwanda, Airtel Rwanda, Liquid Telecom, RINEX/cache hubs | No global hyperscale presence | 38 | 30 | 1 | 210% | Air cooling, UPS/gensets, satellite/VSAT fallback | Grid cost/affordability issues, low rural uptake, limited fixed broadband (~3%), ISP concentration | 0 | SEACOM via landlink, national fiber (2011), 1 IXP, 5G rollout, planned Ruzizi III hydro (206 MW) | Internet Society Pulse, TechCabal, DataReportal, Statista, Wikipedia
Saint Kitts and Nevis | 1 | 0 | 1 | 8000 | 2 | Unknown | Government ICT Center, Flow, Cable & Wireless (CWC), Digicel |  | No global hyperscale presence (lab region planned) | 70 | 1 | 0.2 |  | Air cooling, UPS/gensets, satellite fallback | Grid affordability, rural-limited broadband, ISP duopoly | Eastern Caribbean Fiber System, SSCS, Southern Caribbean Fiber, 1 IXP, VSAT backups | DataReportal, ISOC Pulse, DCD, SpeedGEO, Wikipedia
Saint Lucia | 1 | 0 | 1 | 8000 | 2 | 74 | Tier III (government ICT center) | Government ICT Center (Basseterre) + Flow, CWC, Digicel PoPs | No global hyperscale presence (local cache only) | 74 | 70 | 1 | 20% | Air cooling, UPS/gensets, satellite/VSAT fallback | Grid affordability issues, ISP duopoly, urban‑rural connectivity gap | 0 | Eastern Caribbean Fiber System, SSCS, Southern Caribbean Fiber; 1 IXP; local satellite backup; Starlink trial expansion | DataReportal, Internet Society Pulse, ts2.tech, ICT‑Pulse, wiki
Saint Vincent and the Grenadines | 1 | 0 | 1 | 8000 | 2 | 77.7 | Tier III (government ICT center) | Government ICT Center + Flow, Digicel PoPs | No global hyperscale presence (cache-only) | 77.7 | 70 | 1 | 50% | Air cooling, UPS/gensets, satellite/VSAT fallback | Grid affordability issues, ISP duopoly, rural connectivity gap | 0 | Eastern Caribbean Fiber System, SSCS, Southern Caribbean Fiber; 1 IXP; VSAT backups | DataReportal, Internet Society Pulse, ts2.tech
Samoa | 2 | 0 | 2 | 10000 | 1 | 75 | Tier II (ISP premises) | Digicel Samoa, Vodafone Samoa (SLT subsidiary) | No global hyperscale presence | 75 | 70 | 1 | 1060% | Air cooling, UPS/gensets, VSAT/satellite fallback | High cost, rural coverage issues, ISP duopoly | 0 | APNG‑2 cable via Fiji; 1 IXP; Starlink available via CSL | Internet Society Pulse, DataReportal, TheGlobalEconomy, Reddit
San Marino | 1 | 0 | 1 | 5000 | 1 | Unknown | TIM San Marino (TISM), Telefonia Mobile Sammarinese |  | No global hyperscale presence | 50 | 1 | 1 | 0% | Air cooling, precision AC, UPS/gensets, fibre‑fed redundancy | Poor ISP competition, limited local caching (32% of top websites) | Fibre link to Italy (10 Gbps+), redundant links, 4G–5G mobile; IPv6 <1% | Source: Internet Society Pulse, DataReportal, TIM San Marino Housing
Sao Tome and Principe | 0 | 0 | 0 | 0 | 0 | 61.5 | None | None | No global hyperscale presence | 61.5 | 30 | 1 | 200% | Satellite/VSAT, mobile 3G/4G, basic UPS | Poor ISP competition, limited caching (42%), internet resilience issues | Grid cost, affordability, rural gaps, reliance on ACE cable | 0 | ACE submarine cable (2012), 1 IXP, <1% IPv6, Starlink trials | DataReportal, Internet Society Pulse, DigWatch, GlobalEconomy
Saudi Arabia | 36 | 0 | 36 | 1380000 | 345.3 | 99 | Tier III (majority), growing Tier IV | Humain (PIF), stc Center3, Mobily, Gulf Data Hub, DataVolt, Equinix, Quantum Switch, NourNet, Sahara Net, Salam (ITC), Tonumus, EDGNEX etc. | Yes (Google, Microsoft, Oracle planned lab/region) | 99 | 185 | 10+ | 1760% | Air cooling, free/fjord cooling, liquid immersion pilots, AI-optimized cooling, UPS/gensets, heat reuse, solar pilots | Grid high load, permitting delays, talent shortage, export controls | 6+ (Riyadh, Jeddah, Dammam, Al‑Khobar, Al‑Ahsa, Neom) | 10+ submarine cables, national fiber backbone, 5G comprehensive, multiple IXPs, Green hydrogen & solar linkage | Sources: Arizton, Mordor Intelligence, FT, IMARC, Globesw, Wikipedia
Senegal | 3 | 0 | 3 | 35000 | 12 | 60.6 | Tier III (majority) | Tigo/SenConnect (Millicom), Onix Data Centres, Atos Group | No AWS/Azure/GCP region (labs/storage only) | 60.6 | 58 | 3 | 230% | Air cooling, precision AC, UPS/gensets, carrier-neutral CLS locations | Grid permitting delays, urban-rural digital divide, affordability issues | 1 (Dakar DR class) | ACE, MainOne, 2Africa cables; Dakar CLS IXP peering; national fiber network expansion | DataReportal, ISOC Pulse, DCD, Onix, Atos
Serbia | 13 | 0 | 13 | 300000 | 100 | 88 | Tier III (majority) | Telekom Srbija, SBB, Orion Telekom, Mainstream, BeotelNet, PhoenixNAP, Zenlayer, AltusHost, Atos Group | No local AWS/Azure/Google hyperscale region (cloud labs only) | 87.7 | 58 | 4+ | 510% | Air cooling, CRAC/CRAH, UPS/gensets, free cooling pilots | Grid permitting delays, coal-dependent grid transition, talent competition, GDPR alignment challenges | 4+ (Belgrade, Niš, Kragujevac, Vršac) | Dedicated fiber corridors to Vienna/Budapest/Bucharest, national backbone, SOX IXP, 5G rollout | DataReportal, Frontier Compute Partners, Statista, Wikipedia, DatacenterMap
Seychelles | 1 | 0 | 1 | 5000 | 0.5 | 87.4 | Tier II (ISP-grade) | Airtel Africa Seychelles, Cable & Wireless Seychelles | No global hyperscale presence (cache-only) | 87.4 | 70 | 1 | 190% | Air cooling, UPS/gensets, VSAT/satellite fallback | High bandwidth costs, small market size, limited ISP competition, reliance o
Sierra Leone | 1 | 0 | 1 | 8000 | 1 | 4 | Africell, Sierra Leone Telecom (Sierratel), ZoodLabs |  | No global hyperscale presence (cache/lab only) | ~130 | 1 | 2.4 | 0% | Air cooling, UPS/gensets, VSAT/fiber fallback, Starlink | High cost/infrastructure poverty, rural coverage gaps, ISP concentration, grid unreliability | ACE submarine cable at Freetown; SECOM land-route; national fiber expansion; Starlink approved |  | Internet Society Pulse, DataReportal 2025, DCD, Africell plans, Wikipedia, Reddit
Slovakia | 13 | 0 | 13 | 137674 | 30 | 92 | Tier III (majority) | DataCube, Perpetuus, Deutsche Telekom, VNET, SITEL, Slovak Telekom | No local hyperscale region (cloud labs only) | 92 | 58 | 6+ | 550% | Air cooling, precision CRAC/CRAH, UPS/gensets, free cooling pilots | Grid permitting delays, reliance on nearby hubs (Prague/Frankfurt), limited domestic hyperscale, telecom competition | 4 (Bratislava x10, Košice, Prešov, Banská Bystrica) | Six IXP points (Bratislava & Košice), national fiber rings, peering via Peering.cz & SANET, multiple EU land‑fiber corridors | ResearchAndMarkets, Baxtel, DatacenterMap, Wikipedia, Frontier Compute Partners
Slovenia | 21 | 0 | 21 | 137674 | 30 | 92 | Tier III (majority) | Softnet, Arnes, Telekom Slovenije, IT Tel, Telemach, Posta Slovenije, DataCube, Perpetuus, VNET, SITEL, PhoenixNAP, Zenlayer, AltusHost | No local AWS/Azure/Google hyperscale region (cloud labs only) | 92 | 58 | 6+ | 700% | Air cooling, precision CRAC/CRAH, UPS/gensets, free cooling pilots | Grid permitting delays, reliance on nearby hubs (Vienna/Prague), talent competition, GDPR alignment | 4+ (Ljubljana, Maribor, Koper, Nova Gorica) | SIX.SI IXP (2 LOCs)—35 members, peak ~180 Gbps; national fiber; Maribor supercomputing/Vega center; FTTP ~76%; 5G rollout | DataCenterMap, Statista, Wikipedia, SIX.SI, ReportLinker
Solomon Islands | 1 | 0 | 1 | 8000 | 1 | 2 | SATSOL, Solomon Telekom Co Ltd, Our Telekom |  | No global hyperscale presence (cache/lab only) | 130 | 1 | 2.2 | 400% | Air cooling, UPS/gensets, VSAT/satellite backhaul, eCentre cable module | Very poor ISP competition, affordability challenges, rural connectivity gaps, limited IPv6 caching | Coral Seas (ICN2/CS²) submarine cable, PEACE planning, 1 IXP (Honiara), national fiber extensions, Starlink trials |  | DataReportal, Internet Society Pulse, Solomon Star News, DCD on eCentre
Somalia | 11 | 0 | 11 | 35000 | 10 | 55.2 | Tier III (majority ISP-grade) | Hormuud Telecom, Somtel, Telesom, Golis, Telcom, NationLink | Tiers III solar-powered green DCs by Hormuud – no AWS/Azure/GCP region | 55.2 | 130 | 1 | 350% | Air cooling, UPS/gensets, solar power, carrier-neutral fiber hubs, VSAT/Starlink fallback | Grid insecurity, ISP concentration, low resilience (27%), data protection compliance, rural connectivity | 0 (new Hormuud DR-grade site in Mogadishu) | EASSy submarine cable, ACE links via Hormuud, national fiber rollout, Starlink availability, planned 5G expansion | DataReportal, Internet Society Pulse, Wikipedia, Garowe Online, Bloombergs, DCD, Reddit
South Sudan | 1 | 0 | 1 | 8000 | 1 | 0 | MTN South Sudan, Zain South Sudan, Digitel Telecommunication Services Ltd (DTS) |  | No global hyperscale presence (cache/lab only) | 130 | 1 | 3.5 | 800% | Air cooling, UPS/gensets, solar-powered towers, VSAT/Starlink fallback, carrier-neutral fibre hub | Grid insecurity & cost, poor ISP competition, low resilience (23%), limited data regulation, rural divide | EASSy cable via Mogadishu, fiber link from Kenya/Uganda to Juba, national fibre and planned Djibouti link, Starlink & 4G/5G rollout |  | DataReportal, Internet Society Pulse, Eye Radio, Wikipedia
Sri Lanka | 4 | 0 | 4 | 95000 | 25 | 90 | Tier III (majority), some Tier IV | Sri Lanka Telecom NDC, Dialog Pilliyandala, OrionStellar (Digital Realty JV), NSB private dc | No AWS/Azure/GCP region (local cloud labs & edge only) | 90 | 100 | 8 | 745% | Air cooling, precision CRAC/CRAH, free cooling pilots, upcoming liquid immersion, UPS/gensets | Grid permitting delays, ISP monopoly, high energy cost, limited rural fiber | 1 (colocated DR at Dialog site) | Eight submarine cables (SeaMeWe‑3/5, Bharat & others), national fiber, 5G rollout, solar/mini‑hydro energy tie‑ups | DataReportal, Statista, NetworkWorld, Wikipedia, OrionStellar, HostAsia, Reddit
Sudan | 3 | 0 | 3 | 24000 | 15 | 28.7 | Tier III (ISP-grade) | Sudatel, Zain Sudan, MTN Sudan | Tier‑III green/lab sites by Sudatel; no AWS/Azure/GCP region | 28.7 | 130 | 1 | 160% | Air cooling, UPS/gensets, VSAT/Starlink fallback, mobile tower solar backup | Grid insecurity & high inflation, expensive tariffs, rural‑urban digital divide, low caching (1%), regulatory instability | 0 (single‑site resilience only) | EASSy submarine cable landing, national fiber via Sudatel, mobile 4G/3G (37.7% 4G coverage), Starlink in use | DataReportal, Statista, ISOC Pulse, Freedom House, Wikipedia, Reddit
Suriname | 1 | 0 | 1 | 10000 | 1 | 78.4 | Tier III (ISO‑27001 certified) | Datasur, Telesur, Digicel | No global hyperscale region (cache/lab only) | 78.4 | 100 | 1 | 90% | Air cooling, UPS/N+1 generators, HVAC, fire suppression/argon systems, redundant cabling | Power cost and reliability, ISP monopoly, limited fiber reach outside Paramaribo, slow fixed broadband speeds | 0 (single site backup via redundant systems) | Single submarine fiber (to Brazil), national fiber expansions (70% OTN), 5G LTE, Starlink used unofficially | DataReportal, Datasur, ISOC Pulse, Wikipedia, Reddit
Syria | 2 | 0 | 2 | 16000 | 1 | 35.8 | Tier II–III (Syrian Telecom, MTN, Wafa) |  | No global hyperscale region (cache/lab only) | 130 | 2 | 0.9 |  | Air cooling, UPS/gensets, VSAT/Starlink fallback, mobile tower solar backup | Power cost and reliability, ISP monopoly, limited fiber reach outside Damascus, slow fixed broadband speeds | Single submarine fiber (to Cyprus and Italy via Egypt), national fiber expansions (70% OTN), 5G LTE, Starlink used unofficially |  | DataReportal, Wafa Telecom, ISOC Pulse, Wikipedia, Reddit
Tajikistan | 1 | 0 | 1 | 10000 | 1 | 56.8 | Tier II (ISP-grade) | TT-Mobile, Babilon-T, MegaFon | Tier-II facilities; no global hyperscale region (cache/lab only) | 56.8 | 130 | 1 | 90% | Air cooling, UPS/gensets, VSAT/Starlink fallback, mobile tower solar backup | Power cost and reliability, ISP monopoly, limited fiber reach outside Dushanbe, slow fixed broadband speeds | 0 (single site backup via redundant systems) | Single submarine fiber (to Kazakhstan and China), national fiber expansions (70% OTN), 4G LTE, Starlink used unofficially | DataReportal, Statista, ISOC Pulse, Wikipedia, Reddit
Tanzania | 3 | 0 | 3 | 30000 | 3 | 36.3 | Tier III (Raxio TZ1, TTCL, Wingu) |  | No global hyperscale region (cache/lab only) | 130 | 2 | 2.9 | 400% | Air cooling, UPS/gensets, VSAT/Starlink fallback, mobile tower solar backup | Power cost and reliability, ISP monopoly, limited fiber reach outside Dar es Salaam, slow fixed broadband speeds | Multiple submarine cables (EASSy, DARE), national fiber expansions (93% 4G coverage), 5G LTE, Starlink used unofficially |  | DataReportal, Statista, ISOC Pulse, Wikipedia, Reddit
Timor-Leste | 1 | 0 | 1 | 10000 | 1 | 44.3 | Tier II (SACOMTEL, Timor Telecom, Telemor) |  | No global hyperscale region (cache/lab only) | 130 | 1 | 0.9 | 600% | Air cooling, UPS/gensets, VSAT/Starlink fallback, mobile tower solar backup | Power cost and reliability, ISP monopoly, limited fiber reach outside Dili, slow fixed broadband speeds | Single submarine fiber (to Darwin, Australia via TLSSC), national fiber expansions (70% OTN), 5G LTE, Starlink used unofficially |  | DataReportal, SACOMTEL, ISOC Pulse, Wikipedia, Reddit
Togo | 1 | 0 | 1 | 10000 | 1 | 37 | Tier III–IV (Lomé Data Center, CSquared Woezon, Moov Africa, Togo Telecom, Togocell) | Equiano (Google), WACS (Maroc Telecom) | No global hyperscale region (cache/lab only) | 130 | 2 | 2.2 | 300% | Air cooling, UPS/gensets, VSAT/Starlink fallback, mobile tower solar backup | Power cost and reliability, ISP monopoly, limited fiber reach outside Lomé, slow fixed broadband speeds | Multiple submarine cables (Equiano, WACS), national fiber expansions (70% OTN), 4G LTE, Starlink used unofficially |  | DataReportal, Togo First, ISOC Pulse, Wikipedia, Reddit
Tonga | 1 | 0 | 1 | 8000 | 0.827 | 58.5 | Tier III (ISP-grade eCentre) | Tonga Cable Limited, Digicel Tonga, TCC (Kacific partner) | No global hyperscale region (cache/lab only); exploring dual-cable redundancy via satellite fallback | 58.5 | 130 | 1 | -40% | Air cooling, UPS/gensets, VSAT/Starlink backup, cable landing eCentre module | Grid vulnerability to cable-breaks, ISP duopoly, low resilience (30%), limited local caching (1%) | 0 (single eCentre with mobile backup) | Single 827 km Tonga–Fiji submarine cable; domestic extension to Haʻapai/Vavaʻu; national fibre loops; 95% 4G coverage; Starlink and Kacific satellite backup trial | DataReportal, ISOC Pulse, DCD, Wikipedia, Guardian, Reddit
Trinidad and Tobago | 5 | 0 | 5 | 60000 | 15 | 84.7 | Tier III (majority) | Amplia (bmobile), Air Link Networks, Columbus/Flow, TSTT/Bmobile, Massy‑AMPLIA | No AWS/Azure/GCP region (cache/lab only) | 84.7 | 15 | 4 | 230% | Air cooling, precision CRAC, UPS/gensets, HFC & fiber backbone redundancy | Grid cost/income affordability, ISP duopoly, limited upstream diversity, low caching (28%) | 0 (all in‑island resilience only) | Five submarine cables (Americas-II, ECFiber, Southern Caribbean, Deep Blue One, Suriname–Guyana); 2 IXPs; national fiber + HFC; 95% 4G, VoLTE, early 5G; Starlink trials | DataReportal, ISOC Pulse, GSMA, Wikipedia, Newsday, Reddit
Tunisia | 6 | 0 | 6 | 180000 | 60 | 66.8 | Tier III (majority) & emerging Tier IV | Orange Tunisia, Tunisie Telecom (Topnet), Ooredoo Tunisia, HexaByte, GlobalNet, 3S GlobalNet | No AWS/Azure/GCP region (cloud labs/lite nodes only) | 66.8 | 58 | 6+ | 1010% | Air cooling, precision CRAC/CRAH, UPS/gensets, free cooling, power redundancy pilots | Grid permitting delays, VDSL2 legacy, ISP monopoly (Topnet/Tunisie Telecom), need massive FTTH upgrades, slow rural connection | 2+ (Tunis, Sousse, Sfax) | 6 submarine cables including Ifriqiya (PEACE), Medusa (by end 2024), others to Italy/Egypt; national fiber backbone & FTTH pilot (22 projects); early 5G rollout; IPv6 adoption ~20% | DataReportal, Statista, Wikipedia, DCD, ts2.tech, Reidits
Türkiye | 32 | 0 | 32 | 320000 | 120 | 50 | Tier III (majority), some Tier IV | Turkcell, Turk Telekom, Vodafone Turkey, Equinix, EdgeConneX, EDGNEX, Compass Data Centre, Radore, PlusLayer, Netdirekt, Telehouse | Yes (Huawei Cloud region in Istanbul; AWS/Azure/GCP labs & Oracle/Eq by end‑2025) | 82 | 58 | 8 | 650% | Air cooling, precision CRAC/CRAH, free‑cooling, waste‑heat capture pilots, UPS/gensets, emerging liquid immersion/Grid‑PPA renewables | Grid permitting delays, earthquake risk, currency‑insulated power costs, telecom competition, GDPR alignment | 6+ (Istanbul, Ankara, Izmir, Bursa, Tekirdağ, Antalya) | Six+ submarine cables (SEA‑ME‑WE 3/4/5, Med‑Med, Marmara?), multiple IXPs (İstanbul‑IX, Ege‑IX, Ankara‑IX), national fiber backbone, full 5G rollout, smart‑city fiber grids, redundancy paths | DataReportal, ResearchAndMarkets, Statista, Wikipedia, Reddit, Wikipedia electricity
Turkmenistan | 1 | 0 | 1 | 8000 | 1 | 34.9 | Tier III (Turkmentelecom/ASTU) | Turkmentelecom (incl. Altyn Asyr, ASTU), no private colos | dedicated cache/lab-only (no hyperscale region) | 34.9 | 130 | 1 | 190% | Air cooling, UPS/gensets, satellite/VSAT fallback, containerized colocation module | Grid censorship, monopoly ISP, low IPv6, poor resilience (31%), restricted sites, lack of private investment | 0 (single site in Ashgabat) | Single fiber via Transit-Asia-Europe, no submarine cable; national fiber network; 82% 4G LTE/Arkadag 5G trials; Starlink limited trials | DataReportal, ISOC Pulse, Wikipedia, Reddit insights
Tuvalu | 1 | 0 | 1 | 8000 | 0.51 | 5 | Tuvalu Telecommunications Corporation (TTC) | MTN Uganda, Airtel Uganda, UTel/UTCL, Roke Telkom (Raxio upcoming DC), Smile Telecom | No global hyperscale region (cache/lab only) | 130 | 1 | 1.3 | 100% | Air cooling, UPS/gensets, VSAT/satellite backhaul, compact containerized eCentre | Grid vulnerability to cable loss, ISP monopoly, high cost, low caching (~1%), limited IPv6 adoption | Tuvalu Vaka submarine cable inbound early 2026; national fibre rings; 95% 4G LTE via Kacific satellite backhaul; Starlink available via TTC; ongoing digital-nation initiatives |  | DataReportal, ISOC Pulse, AIFFP, Wikipedia, Reddit
Uganda | 6 | 0 | 6 | 30000 | 8 | 28 | Tier III (majority ISP-grade) |  | No global hyperscale region (cache/lab only) | 28 | 130 | 4 | 780% | Air cooling, precision CRAC, UPS/gensets, solar-powered towers, carrier-neutral fibre, VSAT/Starlink fallback | Grid cost and affordability (VAT 18% + excise), ISP oligopoly, limited fixed‑fiber outside urban areas, intermittent outages due to regulation/interference | 1 (Raxio DC under construction in Namanve industrial park with DR design) | EASSy submarine cable landing at Mombasa–Kenya route, national fibre backbone via UTL & Roke, 4G (~43%), 3G (~88%), early-stage 5G trials, Starlink access emerging | DataReportal, UCC press, MTN/Wikipedia, Statista, ISOC Pulse, wikipedia
Ukraine | 55 | 0 | 55 | 320000 | 150 | 82.4 | Tier III (majority) & growing Tier IV | Ukrtelecom, Kyivstar, Vodafone Ukraine, Lifecell, De Novo, BeMobile, Parkovyi, Tucha, Cosmonova, Zenlayer, NewTelco | No AWS/Azure/GCP region yet; cloud labs, CDN edges only | 82.4 | 58 | 24 | 955% | Air cooling, precision CRAC/CRAH, UPS/gensets, UPS+backup power banks for home routers, free cooling pilots | Grid disruption from conflict, power shortages, permitting delays, cybersecurity, GDPR alignment | ≤6 major metro DR clusters (Kyiv, Kharkiv, Odesa, Lviv, Dnipro, Vinnytsia) | EASSy + Italy/Turkey cables, 55 DCs, 24 IXPs, expanding fiber/GPON (70%+), 94% 4G, 10% 5G by 2025, Starlink & Satcube backup widely used | DataReportal, ISOC Pulse, Statista, Wikipedia, Reddit
United Arab Emirates | 31 | 1 | 31 | 450000 | 200 | 60 | Tier III (majority) & emerging Tier IV | Global players: e& (Etisalat), du, Equinix, Khazna, Injazat, Gulf Data Hub, Datamena, DC Vaults; Telecoms in-house labs | Hyperscale labs & AWS region; new OpenAI/G42 5 GW AI campus planned | 99 | 15 | 14 | 1760% | Air cooling, precision CRAC/CRAH, free cooling, immersion pilots, UPS/battery systems, solar PPAs, heat reuse | Grid permitting, high energy consumption, seismic risk in Fujairah, Telecom competition, data-sovereignty laws | 6+ (Dubai, Abu Dhabi, Fujairah, Sharjah, Ajman, Ras al Khaimah) | Dubai-IX, AbuDz-IX, Alfa-IX (Sharjah), Weihua-IX, national fiber backbone metro; six+ submarine cables (SEA-ME-WE 3/4/5, Medusa, EJ-Middle East); full 5G coverage; smart city grids; Starlink backup; Masdar City green campus | DataReportal, ResearchAndMarkets, MordorIntelligence, AWS blog, Wikipedia, Reuters
Uruguay | 9 | 0 | 9 | 30000 | 35 | 98 | Tier III (majority) & emerging Tier IV | DATACENTER UY, Antel, Millicom/Claro, Telesur, IBM Uruguay, Equinix partner hubs, UTEcolocation, Huawei edge | Yes (Google hyperscale under construction in Canelones; cloud labs from AWS/Azure/GCP) | 90.9 | 15 | 3 | 791% | Air cooling, precision CRAC, UPS/gensets, free cooling pilots, hydroelectric green energy tie-ins, UPS-backed FTTH households | Grid permitting delays, ISP monopoly (Antel), rural broadband gap, earthquake risk low caching (63%) | 2+ metro clusters (Montevideo with DR, Punta del Este) | Firmina and Monet‑Tannat cables linking USA & Brazil; UNBN national fiber (FTTH ~81%, rural rollout underway); 100% 4G, ~16% 5G; IPv6 ~57%; Starlink available | DataReportal, ISOC Pulse, Trade.gov, Statista, NetMap, Wikipedia, Reddit
Uzbekistan | 3 | 0 | 3 | 25000 | 8 | 98 | Tier III (majority ISP-grade) | Uztelecom, Ucell, Mobiuz, Beeline Uzbekistan, ITI‑IX/Metrotelecom, carrier-neutral colos emerging | No AWS/Azure/GCP region (cache/CDN labs only) | 98 | 58 | 3 | 1400% | Tier‑III ISP/data‑hub rollouts; some Tier‑IV planning | Air cooling, UPS/gensets, precision CRAC in top colos, emerging free‑cooling pilots | Grid permitting, rural‑urban divide, Uztelecom monopoly, censorship, FTTB lag outside Tashkent | 3 (Tashkent DR clusters) | Landlocked fiber via Digital Silk Way + Trans‑Caspian to Azerbaijan; national fiber network (227k km); 100% 4G/3G, early 5G in Tashkent; extensive solar PV integration | DataReportal, Statista, Wikipedia, Arizton, ISOC Pulse, Uztelecom
Vanuatu | 2 | 0 | 2 | 15000 | 2 | 35 | Tier III (eCentre & Telco-grade) | Tuvalu Telecommunications Corp (TTC), Pacific Networks/Vodafone, Digicel, Cetelnet | No global hyperscale region (cache/lab only) | 35 | 130 | 2 | 200% | Air cooling, UPS/gensets, VSAT/Kacific/Starlink backup, containerized eCentre modules | Grid vulnerability to cable-breaks, ISP duopoly, high cost, low caching (~1%), limited IPv6 | 0 (single main site in Port Vila) | Interchange ICN1 & ICN2 cables to Fiji/Solomon Islands, national fibre rings to outer islands, 5G broadband trials (Wave & 3 Link), Kacific and Starlink satellite services | DataReportal, ISOC Pulse, Interchange, DCD, Wikipedia, Reddit
Venezuela | 6 | 0 | 6 | 50000 | 20 | 44 | Tier III (majority ISP-grade) | CANTV, Movistar, Digitel, Inter, NetUno, SuperCable | No AWS/Azure/GCP region (cache/lab only) | 44 | 120 | 3 | 300% | Air cooling, UPS/gensets, precision AC in modern colos, backup generators, satellite fallback | Grid collapse & hyperinflation, power blackouts, ISP monopolies, currency controls, rural coverage gaps | 1 (modern DR-capable colo in Caracas) | Submarine cables (GlobeNet landing at Maiquetía), domestic interurban fiber, Intelsat/PanAmSat satellite, improving fiber-optic deals, Starlink/VSAT fallback | DataReportal, Wikipedia, GlobeNet submarine operations, ISOC Pulse, Reddit
Vietnam | 32 | 1 | 32 | 450000 | 145 | 80.7 | Tier III (majority) & growing Tier IV | Viettel IDC, VNPT, FPT Telecom, CMC Telecom, VNG Cloud, Edge Centres, Data Center First, NTT, STT GDC, Telehouse | No AWS/Azure/GCP region yet; Alibaba & Google hyperscale planned | 80.7 | 58 | 5+ | 1790% | Air cooling, precision CRAC/CRAH, UPS/gensets, free cooling pilots, AI/immersion-led designs, solar PPA pilots | Grid permitting delays, rural‑urban digital divide, data‑localisation law, telecom/state dominance, censorship | 3+ (Hanoi, Ho Chi Minh City, Da Nang) | Five submarine cables (APG, AAG, IA, SMW3/4), national fiber (227 k km), two IXP hubs, 100% 4G/3G, 5G trial in urban areas, Starlink pilot program | DataReportal, Tuoi Tre, Arizton, ISOC Pulse, Vietnam Briefing, Wikipedia, Reddit
Yemen | 1 | 0 | 1 | 8000 | 0.177 | 45 | PTC-YEMENNET (YemenNet-PTC), YemenMobile, Sabafon, YOU (ex-MTN Yemen) | No AWS/Azure/GCP region (cache/CDN labs only) | No global hyperscale region (cache/lab only) | 130 | 1 | 3 | 0% | Air cooling, UPS/gensets, VSAT/Starlink backup, Satcube backup | Grid insecurity & airstrike risk, ISP monopoly, censorship, low IPv6 (1%), internet blackouts (~January 2022) | AAE‑1 cable landing at Aden, SEA‑ME‑WE‑5 via Hudaydah, land fiber via YemenTel, GSM 4G from providers, Starlink uptake 28% market share, satellite/fiber fallback |  | DataReportal, ISOC Pulse, Wikipedia, DataCenterJournal, Reddit
Zambia | 2 | 0 | 2 | 15000 | 3 | 33 | Tier III (ISP-grade) | Airtel Zambia, MTN Zambia, Zamtel, Liquid Telecom (planned Raxio edge node) | No AWS/Azure/GCP region (cache/CDN labs only) | 33 | 120 | 2 | 629% | Air cooling, UPS/gensets, VSAT/Starlink fallback, carrier-neutral edge modules | Grid cost & affordability, load shedding, ISP oligopoly, rural/urban coverage gaps, low local caching (~5%) | 0 (single edge sites, no formal DR) | EASSy via Mombasa terrestrial to Zambia, national fiber expansion (ZICTA-regulated), 100% 3G/4G coverage, nascent 5G trials, Starlink increasing in Lusaka and farms | DataReportal, Statista, ISOC Pulse, Wikipedia, Reddit
Zimbabwe | 2 | 0 | 2 | 16000 | 5 | 3 | TelOne, Dandemutande, Econet/Cassava, NetOne, Telecel | No AWS/Azure/GCP region (cache/CDN labs only) | No global hyperscale region (cache/lab only) | 130 | 3 | 10.4 | 0% | Air cooling, UPS/gensets, precision AC, satellite/Starlink backup | High internet cost, limited fixed broadband (7.3%), ISP oligopoly, low resilience (32%), high inflation, infrastructure theft | GlobeNet submarine cable landing Maiquetía route, national fibre backbone (TelOne NBB project), EASSy back‑haul via land; mobile 4G (~82%), 5G trials by NetOne & Econet, Starlink licensed May 2024 |  | DataReportal, ISOC Pulse, Statista, DCD, TelOne Wikis, Reuters, Reddit